## Index
ID | City | Airport | Project Description | TAD# | Sheet
2M2 | Lawrenceburg | Lawrenceburg-Lawrence County | Apron Rehabilitation | 50-555-0162-18 | LINK
3A2 | Tazewell | New Tazewell Municipal | Security Fencing | 13-555-0137-19 | LINK
FYE | Somerville | Fayette County | REILs Replacement | 24-555-0141-19 | LINK
FYM | Fayetteville | Fayetteville Municipal | Taxiway & Apron Pavement Rehab | 52-555-0155-18 | LINK
FYM | Fayetteville | Fayetteville Municipal | Taxiway Lighting | 52-555-0155-18 | LINK
GHM | Centerville | Centerville Municipal | T-Hangar and Apron | 41-555-0140-20 | LINK
GKT | Sevierville | Gatlinburg-Pigeon Forge | Sinkhole Repairs | 78-555-0101-19 | LINK
GKT | Sevierville | Gatlinburg-Pigeon Forge | Security Fencing | 78-555-0199-19 | LINK
HZD | Huntingdon | Carroll County | Airfield Pavement Rehabilitation | 09-555-0133-20 | LINK
JWN | Nashville | John C. Tune | Apron Rehabilitation | 19-555-0587-19 | LINK
M15 | Linden | James Tucker Airport | T-Hangar Renovation | 68-555-0120-18 | LINK
M54 | Lebanon | Lebanon Municipal | Airfield Lighting Improvements (Ph. 1) | 95-555-0763-19 | LINK
MKL | Jackson | McKellar-Sipes Regional | Directional Signage | 57-555-0127-19 | LINK
MKL | Jackson | McKellar-Sipes Regional | Runway Approach Clearing | Multiple | LINK
MNV | Madisonville | Monroe County | Road Relocation | 62-555-0532-20 | LINK
MOR | Morristown | Moore-Murrell Field | Tree Removal | 32-555-0563-19 | LINK
MQY | Smyrna | Smyrna Airport | Elevated Runway Guard Lights | 75-555-0157-19 | LINK
MQY | Smyrna | Smyrna Airport | Taxiway F Holdpad PCC Repairs | 75-555-0746-18 | LINK
MQY | Smyrna | Smyrna Airport | Runway 14/32 Preventative Maintenance | 75-555-0158-20 | LINK
RZR | Cleveland | Cleveland Regional Jetport | Runway/Taxiway Subsidence Repair | 06-555-0567-19 | LINK
SCX | Oneida | Scott Municipal | Apron Rehabilitation | 76-555-0139-19 | LINK
SNH | Savannah | Savannah-Hardin County | Runway Reconstruction and Lighting Upgrade | 36-555-0162-19 | LINK
SYI | Shelbyville | Bomar Field-Shelbyville Municipal | Runway Rehabilitation & RSA Improvements | 02-555-0740-20 | LINK
TRI | Bristol/Johnson/Kingsport | Tri-Cities Regional | Apron and Taxiway Paving - Phase 3 & 4 | 82-555-0500-19 | LINK
XNX | Gallatin | Music City Executive | Northwest Apron Expansion | 83-555-0206-18 | LINK
Bid Tabulations Disclaimer: These spreadsheets include Bid Tabulations for various airport improvement projects that were received within the 2019 calendar year. The Bid Tabulations were collected from airport consultants and do not represent all airport improvement projects conducted in the State during each calendar year. The Bid Tabulations shall serve as historical record only. The Aeronautics Division makes no commitment or guarantee that estimates based on these historical prices will suffice as the Engineer’s Estimate nor result in award of any contract.
Unit prices are specific to each contract and can vary widely depending on various factors. When developing an Opinion of Probable Cost for a project, it is recommended to develop cost-based estimates which include all costs for material, labor, supplies, equipment, subcontracts, overhead, markup, contract bonding, permitting, and taxes which are reasonably required to complete the work.

## IT (hidden)
ID: | XNX |  | County: | Sumner
City: | Gallatin |  | Grand Division: | Middle
Airport: | Music City Executive
Project Description: |  | Apron Rehabilitation
TAD #: | 50-555-0162-18
Bid Date: | 2019-08-20
|  |  |  | Item No. | Description | Unit | Quantity | Contractor #1 |  | Contractor #2 |  | Contractor #3 |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price
[9 empty] | 0 |  | 0 |  | 0 | #DIV/0!
BACK TO INDEX

## Data
ID | County | City | Airport | G. Div.
0A3 | Dekalb | Smithville | Smithville Municipal | Middle
0A4 | Washington | Johnson City | Johnson City | East
0A9 | Carter | Elizabethton | Elizabethton Municipal | East
0M2 | Lake | Tiptonville | Reelfoot Lake | West
0M3 | Lewis | Hohenwald | John A. Baker Field | Middle
0M4 | Benton | Camden | Benton County | West
0M5 | Humphreys | Waverly | Humphreys County | Middle
1A0 | Hamilton | Chattanooga | Dallas Bay Skypark | East
1A3 | Polk | Copperhill | Martin Campbell Field | East
1A7 | Jackson | Gainesboro | Jackson County | Middle
1M5 | Sumner | Portland | Portland Municipal | Middle
2A0 | Rhea | Dayton | Mark Anton Airport | East
2A1 | Fentress | Jamestown | Jamestown Municipal | Middle
2M2 | Lawrence | Lawrenceburg | Lawrenceburg-Lawrence County | Middle
2M8 | Shelby | Millington | Charles W. Baker | West
3A2 | Claiborne | Tazewell | New Tazewell Municipal | East
3M7 | Macon | Lafayette | Lafayette Municipal | Middle
50M | Bedford | Eagleville | Puckett | Middle
54M | Fayette | Rossville | Wolf River | West
6A4 | Johnson | Mountain City | Johnson County | East
8A3 | Overton | Livingston | Livingston Municipal | Middle
92A | Polk | Benton | Chilhowee Gliderport | East
APT | Marion | Jasper | Marion County-Brown Field | East
BGF | Franklin | Winchester | Winchester Municipal | Middle
BNA | Davidson | Nashville | Nashville International | Middle
CHA | Hamilton | Chattanooga | Lovell Field | East
CKV | Montgomery | Clarksville | Outlaw Field | Middle
CSV | Cumberland | Crossville | Crossville Memorial-Whitson Field | East
DKX | Knox | Knoxville | Knoxville Downtown Island | East
DYR | Dyer | Dyersburg | Dyersburg Regional Airport | West
FGU | Hamilton | Collegedale | Collegedale Municipal | East
FYE | Fayette | Somerville | Fayette County | West
FYM | Lincoln | Fayetteville | Fayetteville Municipal | Middle
GCY | Greene | Greeneville | Greeneville-Greene County Municipal | East
GHM | Hickman | Centerville | Centerville Municipal | Middle
GKT | Sevier | Sevierville | Gatlinburg-Pigeon Forge | East
GZS | Giles | Pulaski | Abernathy Field | Middle
HZD | Carroll | Huntingdon | Carroll County | West
JAU | Campbell | Jacksboro | Campbell County | East
JWN | Davidson | Nashville | John C. Tune | Middle
LUG | Marshall | Lewisburg | Ellington | Middle
M01 | Shelby | Memphis | General Dewitt Spain | West
M02 | Dickson | Dickson | Dickson Municipal | Middle
M04 | Tipton | Covington | Covington Municipal | West
M08 | Hardeman | Bolivar | William L. Whitehurst Field | West
M15 | Perry | Linden | James Tucker Airport | Middle
M29 | Wayne | Clifton | Hassell Field | Middle
M31 | Lauderdale | Halls | Arnold Field | West
M53 | Gibson | Humboldt | Humboldt Municipal | West
M54 | Wilson | Lebanon | Lebanon Municipal | Middle
M91 | Robertson | Springfield | Springfield-Robertson County | Middle
M93 | Houston | Mckinnon | Houston County | Middle
MBT | Rutherford | Murfreesboro | Murfreesboro Municipal | Middle
MEM | Shelby | Memphis | Memphis International | West
MKL | Madison | Jackson | McKellar-Sipes Regional | West
MMI | Mcminn | Athens | Mcminn County | East
MNV | Monroe | Madisonville | Monroe County | East
MOR | Hamblen | Morristown | Moore-Murrell Field | East
MQY | Rutherford | Smyrna | Smyrna Airport | Middle
MRC | Maury | Columbia/Mount Pleasant | Maury County | Middle
NQA | Shelby | Millington | Millington Regional Jetport | West
PHT | Henry | Paris | Henry County | West
PVE | Henderson | Lexington-Parsons | Beech River Regional | West
RKW | Morgan | Rockwood | Rockwood Municipal | East
RNC | Warren | Mcminnville | Warren County Memorial | Middle
RVN | Hawkins | Rogersville | Hawkins County | East
RZR | Bradley | Cleveland | Cleveland Regional Jetport | East
SCX | Scott | Oneida | Scott Municipal | East
SNH | Hardin | Savannah | Savannah-Hardin County | West
SRB | White | Sparta | Upper Cumberland Regional | Middle
SYI | Bedford | Shelbyville | Bomar Field-Shelbyville Municipal | Middle
SZY | Mcnairy | Selmer | Robert Sibley | West
TGC | Gibson | Trenton | Gibson County | West
THA | Coffee | Tullahoma | Tullahoma Regional/Wm Northern Field | Middle
TRI | Sullivan | Bristol/Johnson/Kingsport | Tri-Cities Regional | East
TYS | Blount | Knoxville | Mcghee Tyson | East
UCY | Obion | Union City | Everett-Stewart Regional | West
UOS | Franklin | Sewanee | Franklin County | Middle
XNX | Sumner | Gallatin | Music City Executive | Middle

## 2M2
ID: | 2M2 |  | County: | Lawrence
City: | Lawrenceburg |  | Grand Division: | Middle
Airport: | Lawrenceburg-Lawrence County
Project Description: |  | Runway Approach Clearing
TAD #: | Multiple
Bid Date: | 2019-02-20
|  |  |  | Item No. | Description | Unit | Quantity | Road Worx, Inc. |  | Rogers Group, Inc. |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | C-100 | Contractor Quality Control Program (CQCP) | LS | 1 | 53000 | 53000 | 84700 | 84700 | 68850
|  |  |  | C-102-5.1 | Construction Entrance | EACH | 1 | 89750 | 89750 | 123880 | 123880 | 106815
|  |  |  | C-102-5.2 | Installation and Removal of Silt Fence | LF | 1080 | 10 | 10800 | 10 | 10800 | 10
|  |  |  | C-105 | Mobilization / Demobilization | LS | 1 | 72500 | 72500 | 211968 | 211968 | 142234
|  |  |  | P-101-5.1 | Curb Removal | LF | 30 | 25 | 750 | 50 | 1500 | 37.5
|  |  |  | P-101-5.2 | Tie-Down Removal | EACH | 15 | 70 | 1050 | 62 | 930 | 66
|  |  |  | P-101-5.3 | Cold Milling | SY | 175 | 25 | 4375 | 70 | 12250 | 47.5
|  |  |  | P-152-4.1 | Undercut and Related Backfill | CY | 440 | 30 | 13200 | 50 | 22000 | 40
|  |  |  | P-152-4.2 | Geotextile Fabric for Undercut Areas | SY | 1320 | 15 | 19800 | 5 | 6600 | 10
|  |  |  | P-207-5.1 | Typical Section 1 Construction (P-207: Pulverization, Stripping Full Depth, P-152: Excavation to Grade, Compaction, & Proof rolling (i.e., Subgrade Preparation), P- 207: Replacement of Stripped Pulverized Material, Mixing, Compaction, Grading, and Curing) | SY | 4200 | 25.75 | 108150 | 36 | 151200 | 30.875
|  |  |  | P-207-5.2 | Typical Section 2 Construction (P-207: Pulverization, Stripping | SY | 2400 | 32.5 | 78000 | 44 | 105600 | 38.25
|  |  |  | P-207-5.3 | Typical Section 3 Construction (P-207: Pulverization, Stripping | SY | 1800 | 15 | 27000 | 26 | 46800 | 20.5
|  |  |  | P-207-5.4 | Portland Cement for FDR & Cement Treated Subgrade | TON | 475 | 190 | 90250 | 244 | 115900 | 217
|  |  |  | P-401-8.1 | Bituminous Surface Course (2 - 2 Inch Lifts) | TON | 2000 | 150 | 300000 | 147 | 294000 | 148.5
|  |  |  | P-603-5.1 | Emulsified Asphalt Tack Coat | GAL | 860 | 5.05 | 4343 | 4.75 | 4085 | 4.9
|  |  |  | P-620-5.1 | Pavement Marking (Phase 2) | LS | 1 | 550 | 550 | 11700 | 11700 | 6125
|  |  |  | P-620-5.2 | Pavement Marking (Phase 5) | LS | 1 | 1100 | 1100 | 12600 | 12600 | 6850
|  |  |  | P-620-5.3 | Concrete Curbing | LF | 70 | 85 | 5950 | 37 | 2590 | 61
|  |  |  | P-620-5.4 | Tie-Downs | EACH | 12 | 800 | 9600 | 1400 | 16800 | 1100
|  |  |  | T-904-5.1 | Apron Edge Restoration Including Sod | SY | 335 | 15 | 5025 | 41 | 13735 | 28
|  |  |  | TS-5 | Implementation of Construction Safety Plan | LS | 1 | 7000 | 7000 | 44444 | 44444 | 25722
|  |  |  | TS-105-4.1 | Pavement Marking Removal | LS | 1 | 7500 | 7500 | 1300 | 1300 | 4400
[7 empty] | Total: |  | 909693 |  | 1295382
BACK TO INDEX

## 3A2
ID: | 3A2 |  | County: | Claiborne
City: | Tazewell |  | Grand Division: | East
Airport: | New Tazewell Municipal
Project Description: |  | Security Fencing
TAD #: | 13-555-0134-19
Bid Date: | 2019-08-20
|  |  |  | Item No. | Description | Unit | Quantity | McCall Commercial Fencing |  | Average Unit Cost
[8 empty] | Unit Price | Total Price
|  |  |  | C-105-1 | Mobilization | LS | 1 | 11500 | 11500 | 11500
|  |  |  | P-151-1 | Bruch Removal/Clearing | AC | 4 | 9400 | 37600 | 9400
|  |  |  | P-151-2 | Fence Removal | LS | 1 | 26700 | 26700 | 26700
|  |  |  | F-162-1 | 8-ft. Chain-Link Fence | LF | 11860 | 22.7 | 269222 | 22.7
|  |  |  | T-901, T-908 | Seeding and Mulching | AC | 4 | 1450 | 5800 | 1450
|  |  |  | P-162-2 | Manual Swing Gate, 24-ft. Opening | EA | 1 | 1385 | 1385 | 1385
|  |  |  | P-162-3 | Temporary Fence | LS | 1 | 12600 | 12600 | 12600
[7 empty] | Total: |  | 364807
BACK TO INDEX

## FYE
ID: | FYE |  | County: | Fayette
City: | Somerville |  | Grand Division: | West
Airport: | Fayette County
Project Description: |  | Taxiway Lighting
TAD #: | 52-555-0155-18
Bid Date: | 2019-05-08
|  |  |  | Item No. | Description | Unit | Quantity | Guardian Electric |  | Shelby Electric |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | 01 2664 | MOBILIZATION | LS | 1 | 6800 | 6800 | 13000 | 13000 | 9900
|  |  |  | L-100-5.1 | DEMOLITION AND DISPOSAL OF EXISTING EQUIPMENT | LS | 1 | 1030 | 1030 | 2200 | 2200 | 1615
|  |  |  | L-108-5.1 | TRENCHING FOR DIRECT BURIED CABLE | LF | 1600 | 3.72 | 5952 | 6 | 9600 | 4.86
|  |  |  | L-108-5.2 | NO. 8 AWG , L824C 5KV CABLE INSTALLED IN TRENCH. EXISTING DUCT BANK OR EXISTING CONDUIT | LF | 1200 | 1.36 | 1632 | 2.5 | 3000 | 1.93
|  |  |  | L-108-5.3 | L-824 2C. NO. 8 AWG 600V CABLE INSTALLED IN TRENCHED CONDUIT | LF | 400 | 2.72 | 1088 | 7 | 2800 | 4.86
|  |  |  | L-108-5.4 | BARE COUNTERPOISE WIRE, INSTALLED IN TRENCH , DUCT BANK, OR CONDUIT, INCLUDING GROUND RODS AND GROUND CONNECTORS | LF | 1200 | 1.5 | 1800 | 2 | 2400 | 1.75
|  |  |  | L-108-5.5 | BARE OR INSULATE EQUIPMENT GROUND, INSTALLED IN TRENCH. DUCT BANK, OR CONDUIT, INCLUDING GROUND RODS AND GROUND CONNECTORS | LF | 30 | 10 | 300 | 2 | 60 | 6
|  |  |  | L-108-5.6 | L-823 SERIES CIRCUIT PLUG AND RECEPTACLE CONNECTOR | EA | 8 | 56 | 448 | 45 | 360 | 50.5
|  |  |  | L-108-5.7 | ELECTRICAL CONDUIT 1" SIZE BURIED IN TRENCH | LF | 400 | 3.88 | 1552 | 20 | 8000 | 11.94
|  |  |  | L-125-5.1 | L-849 LED RBLS SYSTEM (W/BASE)(2-REILS PER EACH SYSTEM) | EA | 2 | 15550 | 31100 | 15000 | 30000 | 15275
|  |  |  | T901-5 .1 | SEEDING , FERTILIZER, MULCHING | ACRES | 0 .75 | 2000 | 1500 | 4000 | 3000 | 3000
[7 empty] | Total: |  | 53202 |  | 74420
BACK TO INDEX

## FYM (1)
ID: | FYM |  | County: | Lincoln
City: | Fayetteville |  | Grand Division: | Middle
Airport: | Fayetteville Municipal
Project Description: |  | REILs Replacement
TAD #: | 24-555-0141-19
Bid Date: | 2019-08-31
|  |  |  | Item No. | Description | Unit | Quantity | Lincoln Paving, LLC |  | Average Unit Cost
[8 empty] | Unit Price | Total Price
|  |  |  | G-010-1 | Mobilization | LS | 1 | 75000 | 75000 | 75000
|  |  |  | G-010-2 | Low Profile Barricades | LS | 1 | 5000 | 5000 | 5000
|  |  |  | G-010-3 | Runway Closure Xs | LS | 1 | 5000 | 5000 | 5000
|  |  |  | G-010-4 | Construction Exit, Haul Route, and Staging Areas | LS | 1 | 10000 | 10000 | 10000
|  |  |  | G-020-1 | Construction Staking & Quality Control Testing | LS | 1 | 50000 | 50000 | 50000
|  |  |  | P-101-1 | Asphalt Milling | SY | 11500 | 3.23 | 37145 | 3.23
|  |  |  | P-101-2 | Asphalt Pavement Removal | SY | 5110 | 4 | 20440 | 4
|  |  |  | P-152-1 | Unclassified Excavation | CY | 2500 | 10 | 25000 | 10
|  |  |  | P-152-2 | Undercut | CY | 200 | 15 | 3000 | 15
|  |  |  | P-152-3 | Shot Rock Fill | TON | 350 | 30 | 10500 | 30
|  |  |  | P-156-1 | Erosion Control - Straw Wattle | LF | 500 | 5 | 2500 | 5
|  |  |  | P-209-1 | Crushed Aggregate Base Course | TON | 2500 | 28 | 70000 | 28
|  |  |  | P-401-1 | Bituminous Asphalt Surface Course (2" Thick) | TON | 5200 | 110 | 572000 | 110
|  |  |  | P-403-1 | Bituminous Asphalt Binder Course (Depth Varies) | TON | 800 | 105 | 84000 | 105
|  |  |  | P-603-1 | Bituminous Tack Coat | GAL | 3800 | 4.5 | 17100 | 4.5
|  |  |  | P-605-1 | Crack Repair (Type I-III) | LF | 8000 | 1.5 | 12000 | 1.5
|  |  |  | P-620-1 | Yellow Pavement Marking - First Coat | SF | 6100 | 0.46 | 2806 | 0.46
|  |  |  | P-620-2 | Yellow Pavement Marking - Second Coat (w/Beads) | SF | 6100 | 1 | 6100 | 1
|  |  |  | P-620-3 | Remove Existing Tie-Down Anchor | EA | 34 | 201.44 | 6848.96 | 201.44
|  |  |  | P-620-4 | New Tie-Down Anchor | EA | 34 | 400 | 13600 | 400
|  |  |  | P-630-1 | Seal Coat | GAL | 6950 | 8 | 55600 | 8
|  |  |  | D-705-1 | Perimeter Underdrain | LF | 2700 | 25 | 67500 | 25
|  |  |  | D-705-2 | Lateral Underdrain | LF | 400 | 20 | 8000 | 20
|  |  |  | D-705-3 | Lateral Drain End Treatment | EA | 6 | 700 | 4200 | 700
|  |  |  | T-901, T-908 | Seeding & Mulching | AC | 2 | 2000 | 4000 | 2000
|  |  |  | T-904-1 | Sodding | SY | 1700 | 6 | 10200 | 6
|  |  |  | T-905-1 | Topsoiling | CY | 600 | 45 | 27000 | 45
|  |  |  | THD-404-1 | Bituminous Material - DBST | TON | 130 | 800 | 104000 | 800
|  |  |  | THD-404-2 | Mineral Aggregate - DBST | TON | 980 | 40 | 39200 | 40
[7 empty] | Total: |  | 1347739.96
BACK TO INDEX

## FYM (2)
ID: | FYM |  | County: | Lincoln
City: | Fayetteville |  | Grand Division: | Middle
Airport: | Fayetteville Municipal
Project Description: |  | Taxiway & Apron Pavement Rehab
TAD #: | 52-555-0155-18
Bid Date: | 2019-08-31
|  |  |  | Item No. | Description | Unit | Quantity | Appalachian Foothills |  | Guardian Electric |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | G-010-1 | Mobilization | LS | 1 | 19500 | 19500 | 49800 | 49800 | 34650
|  |  |  | G-010-2 | Low Profile Barricades | LS | 1 | 1500 | 1500 | 8300 | 8300 | 4900
|  |  |  | G-010-3 | Runway Closure Xs | LS | 1 | 1500 | 1500 | 7000 | 7000 | 4250
|  |  |  | G-020-1 | Construction Staking// Electrical Tracing of Ex. PAPI/ODAL Wiring | LS | 1 | 10500 | 10500 | 5000 | 5000 | 7750
|  |  |  | L-108-1 | 1/C, #8 AWG, 5kV, L-824C Cable | LF | 17323 | 1.29 | 22346.67 | 1.37 | 23732.51 | 1.33
|  |  |  | L-108-2 | 1/C, #6 AWG, 600V, XLP/USE, Type C L-824C Cable | LF | 1250 | 1.61 | 2012.5 | 1.68 | 2100 | 1.645
|  |  |  | L-108-3 | 2" Conduit for 1/C, #8 AWG, 5kV | LF | 15031 | 3 | 45093 | 3.98 | 59823.38 | 3.49
|  |  |  | L-108-4 | Trenching and Backfill | LF | 13763 | 1.5 | 20644.5 | 3.64 | 50097.32 | 2.57
|  |  |  | L-108-5 | #6 AWG BSDC (Counterpoise) | LF | 17323 | 1.55 | 26850.65 | 1.18 | 20441.14 | 1.365
|  |  |  | L-108-6 | 5/8" x 10' Counterpoise GND Rod/Connection | EA | 64 | 80 | 5120 | 140 | 8960 | 110
|  |  |  | L-108-7 | 5/8" x 8' Light Base GND Rod/Connection | EA | 166 | 80 | 13280 | 136 | 22576 | 108
|  |  |  | L-108-8 | Trenching or Plowing for Counterpoise & Ground | LF | 15839 | 0.5 | 7919.5 | 1.61 | 25500.79 | 1.055
|  |  |  | L-108-9 | Pull Boxes for 5kV Circuiting | EA | 20 | 1250 | 25000 | 660 | 13200 | 955
|  |  |  | L-109-1 | Power Supply Equipment Including Feeder Wiring to CCR, Control Wiring extended to new CCR, and Installing new CCR | LS | 1 | 3500 | 3500 | 13600 | 13600 | 8550
|  |  |  | L-109-2 | Power Supply Equipment , 7.5 kW Constant Current Regulators | LS | 1 | 12000 | 12000 | 10230 | 10230 | 11115
|  |  |  | L-109-3 | Pipe Bollards | EA | 3 | 500 | 1500 | 257 | 771 | 378.5
|  |  |  | L-109-4 | Pavement Marking (Yellow Paint, No Beads) | LS | 1 | 2500 | 2500 | 200 | 200 | 1350
|  |  |  | L-110-1 | Electrical Duct Bank, 2-4" | LF | 700 | 35 | 24500 | 100 | 70000 | 67.5
|  |  |  | L-125-1 | Base Mtd L-861(L) LED TW Lights (Blue Lens) | EA | 166 | 840 | 139440 | 914 | 151724 | 877
|  |  |  | L-125-2 | L-858(L) LED Guidance Sign 2-Mod, Size 1, Style 2 | EA | 5 | 4400 | 22000 | 3290 | 16450 | 3845
|  |  |  | L-125-3 | L-858(L) LED Guidance Sign 3-Mod, Size 1, Style 2 | EA | 5 | 5000 | 25000 | 4280 | 21400 | 4640
|  |  |  | L-125-4 | L-858(L) LED Guidance Sign 4-Mod, Size 1, Style 2 | EA | 4 | 5000 | 20000 | 4420 | 17680 | 4710
|  |  |  | L-125-5 | Demolition of Existing Taxiway Fixtures & Signs | LS | 1 | 7500 | 7500 | 21413.86 | 21413.86 | 14456.93
[7 empty] | Total: |  | 459206.82 |  | 620000
BACK TO INDEX

## GHM
ID: | GHM |  | County: | Hickman
City: | Centerville |  | Grand Division: | Middle
Airport: | Centerville Municipal
Project Description: |  | Sinkhole Repairs
TAD #: | 78-555-0101-19
Bid Date: | 2019-08-20
|  |  |  | Item No. | Description | Unit | Quantity | Eclipse Brand Builders, LLC |  | Baron Construction, LLC |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | SS-120-3.1 | CONSTRUCTION SAFETY AND SECURITY | LS | 1 | 11500 | 11500 | 8314.01 | 8314.01 | 9907.005
|  |  |  | SS-130-4.1 | TRENCH AND EXCAVATION SAFETY SYSTEMS | LS | 1 | 1093 | 1093 | 3047.66 | 3047.66 | 2070.33
|  |  |  | SS-270-4.1 | RIPRAP, CLASS A-1 (18” DEPTH) WITH TYPE IV GEOTEXTILE FILTER FABRIC | SY | 30 | 134 | 4020 | 243.81 | 7314.3 | 188.905
|  |  |  | SS-290-27.1 | 6-BAY T-HANGAR | LS | 1 | 412887 | 412887 | 492744.82 | 492744.82 | 452815.91
|  |  |  | SS-300-5.1 | LOCKOUT/TAGOUT PROCEDURES | LS | 1 | 750 | 750 | 3657.19 | 3657.19 | 2203.595
|  |  |  | C-100-14.1 | CONTRACTOR QUALITY CONTROL PROGRAM (CQCP) | LS | 1 | 6613 | 6613 | 18285.93 | 18285.93 | 12449.465
|  |  |  | C-102-5.1 | TEMPORARY EROSION CONTROL | LS | 1 | 3881 | 3881 | 4114.33 | 4114.33 | 3997.665
|  |  |  | C-105-6.1 | MOBILIZATION | LS | 1 | 71100 | 71100 | 18285.93 | 18285.93 | 44692.965
|  |  |  | D-701-5.1 | 18-inch CLASS III REINFORCED CONCRETE PIPE | LF | 109 | 127 | 13843 | 223.09 | 24316.81 | 175.045
|  |  |  | D-705-5.1 | 6-inch PERFORATED UNDERDRAIN PIPE | LF | 188 | 43 | 8084 | 129.22 | 24293.36 | 86.11
|  |  |  | D-705-5.2 | 4-inch NON-PERFORATED OUTFALL PIPE | LF | 62 | 37 | 2294 | 121.91 | 7558.42 | 79.455
|  |  |  | D-751-5.1 | TDOT CATCH BASIN D-CB-42SB | EA | 2 | 7475 | 14950 | 14628.74 | 29257.48 | 11051.87
|  |  |  | P-152-4.1 | UNCLASSIFIED EXCAVATION | CY | 3487 | 8.23 | 28698.01 | 19.71 | 68728.77 | 13.97
|  |  |  | P-152-4.2 | UNSUITABLE EXCAVATION | CY | 200 | 34.5 | 6900 | 73.14 | 14628 | 53.82
|  |  |  | SS-400-4.1 | TDOT 303 CRUSHED AGGREGATE BASE COURSE, TYPE A, GRADING D | TON | 830 | 29.9 | 24817 | 31.7 | 26311 | 30.8
|  |  |  | SS-401-4.1 | TDOT 307BM-2 ASPHALTIC BASE COURSE | TON | 220 | 156.4 | 34408 | 165.79 | 36473.8 | 161.095
|  |  |  | SS-401-4.2 | TDOT 411D ASPHALTIC SURFACE COURSE | TON | 220 | 159.58 | 35107.6 | 169.45 | 37279 | 164.515
|  |  |  | P-610-5.1 | PORTLAND CEMENT CONCRETE | SY | 148 | 124.57 | 18436.36 | 131.46 | 19456.08 | 128.015
|  |  |  | P-620-5.2 | PAVEMENT MARKING | SF | 120 | 29.9 | 3588 | 31.7 | 3804 | 30.8
|  |  |  | T-901-5.1 | SEEDING | ACRE | 1 | 1470 | 1470 | 3894.91 | 3894.91 | 2682.455
|  |  |  | T-904-5.1 | SODDING | SY | 330 | 5.69 | 1877.7 | 6.03 | 1989.9 | 5.86
|  |  |  | T-905-5.1 | TOPSOIL, 4-inch THICKNESS, OBTAINED ON SITE OR REMOVED FROM STOCKPILE | SY | 3000 | 0.86 | 2580 | 2.44 | 7320 | 1.65
|  |  |  | T-908-5.1 | MULCHING | ACRE | 1 | 2205 | 2205 | 3657.19 | 3657.19 | 2931.095
[7 empty] | Total: |  | 711102.67 |  | 864732.89
BACK TO INDEX

## GKT (1)
ID: | GKT |  | County: | Sevier
City: | Sevierville |  | Grand Division: | East
Airport: | Gatlinburg-Pigeon Forge
Project Description: |  | Security Fencing
TAD #: | 78-555-0199-19
Bid Date: | 2019-09-18
|  |  |  | Item No. | Description | Unit | Quantity | East TN Turf and Landscape |  | Whaley Construction, LLC |  | Charles Blalock & Sons, Inc. |  | Knoxville Excavating |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | C-105-1 | MOBILIZATION | LS | 1 | 30000 | 30000 | 50000 | 50000 | 57000 | 57000 | 25000 | 25000 | 40500
|  |  |  | C-105-2 | HAUL ROUTE | LS | 1 | 30000 | 30000 | 25000 | 25000 | 35000 | 35000 | 5000 | 5000 | 23750
|  |  |  | C-105-3 | TEMPORARY DISPLACED THRESHOLD MARKINGS | LS | 1 | 500 | 500 | 10000 | 10000 | 20000 | 20000 | 5000 | 5000 | 8875
|  |  |  | C-105-4 | WATERTRUCK | LS | 1 | 20000 | 20000 | 7500 | 7500 | 12012 | 12012 | 10600 | 10600 | 12528
|  |  |  | P-156-1 | EROSION CONTROL - TEMPORARY STRAW WATTLE | LF | 990 | 4 | 3960 | 6 | 5940 | 4.35 | 4306.5 | 5.05 | 4999.5 | 4.85
|  |  |  | P-152-1 | UNCLASSIFIED EXCAVATION | CY | 3990 | 14 | 55860 | 15 | 59850 | 24 | 95760 | 31 | 123690 | 21
|  |  |  | P-152-2 | COMPACTED SOIL BACKFILL (OFF-SITE BORROW) | CY | 6213 | 22 | 136686 | 25 | 155325 | 18 | 111834 | 24 | 149112 | 22.25
|  |  |  | P-152-3 | LARGE KEYSTONE ROCK 3' TO 4' (ON-SITE) | TON | 164 | 15 | 2460 | 25 | 4100 | 35 | 5740 | 60 | 9840 | 33.75
|  |  |  | P-152-4 | GRADED SOLID ROCK | TON | 2874 | 45 | 129330 | 40 | 114960 | 42 | 120708 | 35 | 100590 | 40.5
|  |  |  | P-152-5 | NO. 57 STONE | TON | 1702 | 30 | 51060 | 35 | 59570 | 42 | 71484 | 35 | 59570 | 35.5
|  |  |  | P-156-2 | GEOTEXTILE (TYPE V) | SY | 2445 | 4 | 9780 | 5 | 12225 | 7.25 | 17726.25 | 9 | 22005 | 6.3125
|  |  |  | P-156-3 | GEOTEXTILE (TYPE I) | SY | 4891 | 4 | 19564 | 6 | 29346 | 5 | 24455 | 9 | 44019 | 6
|  |  |  | P-156-4 | GEOMEMBRANE | SY | 250 | 45 | 11250 | 15 | 3750 | 30 | 7500 | 40 | 10000 | 32.5
|  |  |  | P-156-5 | EROSION CONTROL - MACHINED RIP-RAP (CLASS B) | TON | 117 | 45 | 5265 | 45 | 5265 | 42 | 4914 | 35 | 4095 | 41.75
|  |  |  | F-161-1 | DEMOLITION (EX. STOCK FENCE REMOVAL) | LS | 1 | 2000 | 2000 | 7500 | 7500 | 750 | 750 | 800 | 800 | 2762.5
|  |  |  | F-161-2 | WOVEN WIRE STOCK FENCE | LF | 150 | 30 | 4500 | 10 | 1500 | 15 | 2250 | 14 | 2100 | 17.25
|  |  |  | T-901, T-908 | SEEDING AND MULCHING | AC | 5 | 3000 | 15000 | 3000 | 15000 | 2250 | 11250 | 2000 | 10000 | 2562.5
|  |  |  | T-905 | TOPSOILING (IMPORTED FROM OFFSITE) | CY | 1320 | 30 | 39600 | 30 | 39600 | 24 | 31680 | 60 | 79200 | 36
[7 empty] | Total: |  | 566815 |  | 606431 |  | 634369.75 |  | 665620.5
BACK TO INDEX

## GKT (2)
ID: | GKT |  | County: | Sevier
City: | Sevierville |  | Grand Division: | East
Airport: | Gatlinburg-Pigeon Forge
Project Description: |  | Airfield Pavement Rehabilitation
TAD #: | 09-555-0133-20
Bid Date: | 2019-08-20
|  |  |  | Item No. | Description | Unit | Quantity | LU, Inc. |  | Stubbs Construction |  | McCall Commercial Fencing |  | Specialty Service Group |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | C-105-1 | MOBILIZATION | LS | 1 | 800 | 800 | 5000 | 5000 | 4680 | 4680 | 1500 | 1500 | 2995
|  |  |  | F-162-1 | 6 FOOT CHAINLINK FENCE W/ 3-STRAND BARBED WIRE | LF | 750 | 18.05 | 13537.5 | 22.6 | 16950 | 24.9 | 18675 | 32 | 24000 | 24.3875
|  |  |  | F-162-2 | 6 FOOT VINYL-COATED CHAINLINK FENCE W/ 3-STRAND BARBED WIRE | LF | 650 | 25.85 | 16802.5 | 25.75 | 16737.5 | 34.2 | 22230 | 37 | 24050 | 30.7
|  |  |  | F-162-3 | FENCE REPAIR | LF | 300 | 29 | 8700 | 31.75 | 9525 | 25 | 7500 | 32 | 9600 | 29.4375
|  |  |  | F-162-4 | 24-FT ELECTRIC ROLLING GATE WITH KEYPAD, PEDESTAL, AND OPERATOR (COMPLETE IN PLACE) | EA | 1 | 16350 | 16350 | 10990 | 10990 | 11830 | 11830 | 10575 | 10575 | 12436.25
|  |  |  | F-162-5 | 16-FT MANUAL SWING GATE (2, 8-FT GATE PANELS) | EA | 1 | 1655 | 1655 | 2375 | 2375 | 1250 | 1250 | 1500 | 1500 | 1695
|  |  |  | F-162-6 | 4-FT MANUAL SWING PERSONNEL GATE (SINGLE SWING) | EA | 1 | 863 | 863 | 800 | 800 | 590 | 590 | 500 | 500 | 688.25
|  |  |  | F-162-7 | FENCE REMOVAL | LF | 800 | 3 | 2400 | 5.35 | 4280 | 3 | 2400 | 10 | 8000 | 5.3375
|  |  |  | T-901, T-908 | SEEDING AND MULCHING | AC | 1 | 250 | 250 | 2150 | 2150 | 1400 | 1400 | 3000 | 3000 | 1700
[7 empty] | Total: |  | 61358 |  | 68807.5 |  | 70555 |  | 82725
BACK TO INDEX

## HZD
ID: | HZD |  | County: | Carroll
City: | Huntingdon |  | Grand Division: | West
Airport: | Carroll County
Project Description: |  | Apron Rehabilitation
TAD #: | 19-555-0587-19
Bid Date: | 2019-05-15
|  |  |  | Item No. | Description | Unit | Quantity | Pavement Restorations, Inc. |  | Average Unit Cost
[8 empty] | Unit Price | Total Price
|  |  |  | 105-2 .1 | MOBILIZATION | LS | 1 | 5000 | 5000 | 5000
|  |  |  | 150/5380-6 | CONSTRUCTION SAFETY ITEMS, (TO INCLUDE BARRIERS, CONES, ETC.), COMPLETE IN PLACE | LS | 1 | 5000 | 5000 | 5000
|  |  |  | P-631-7.1 | REFINED COAL TAR EMULSION WITH ADDITIVES FOR SLURRY COAT, COMPLETE IN PLACE | GAL | 8540 | 6.25 | 53375 | 6.25
|  |  |  | P-620-5.1 | RUNWAY AND TAXIWAY PAINTING, COMPLETE IN PLACE | SF | 300 | 5 | 1500 | 5
|  |  |  | P-605-5.1 | JOINT SEALING FILLER (LESS THAN 1-INCH IN WIDTH), COMPLETE IN PLACE | LF | 14600 | 2.5 | 36500 | 2.5
|  |  |  | P-605-5.2 | JOINT SEALING FILLER (GREATER THAN 1-INCH IN WIDTH), COMPLETE IN PLACE | LF | 650 | 7 | 4550 | 7
|  |  |  | P-623-8.1 | EMULSIFIED ASPHALT SPRAY SEAL COAT, COMPLETE IN PLACE | SY | 20400 | 2.2 | 44880 | 2.2
[7 empty] | Total: |  | 150805
BACK TO INDEX

## JWN
ID: | JWN |  | County: | Davidson
City: | Nashville |  | Grand Division: | Middle
Airport: | John C. Tune
Project Description: |  | Directional Signage
TAD #: | 57-555-0127-19
Bid Date: | 2019-01-15
|  |  |  | Item No. | Description | Unit | Quantity | Four Star Paving, LLC |  | Average Unit Cost
[8 empty] | Unit Price | Total Price
|  |  |  | M-100-3.1 | Mobilization and Demobilization | LS | 1 | 40000 | 40000 | 40000
|  |  |  | M-100-3.2 | Bonds | LS | 1 | 15000 | 15000 | 15000
|  |  |  | M-100-3.3 | Gate-Guard | HR | 225 | 45 | 10125 | 45
|  |  |  | M-100-3.4 | Visual Escort | HR | 145 | 40 | 5800 | 40
|  |  |  | M-100-3.5 | Contractor’s Quality Control Program | LS | 1 | 40000 | 40000 | 40000
|  |  |  | M-100-3.6 | Construction Layout | LS | 1 | 20000 | 20000 | 20000
|  |  |  | M-100-3.7 | Project Closeout | LS | 1 | 10000 | 10000 | 10000
|  |  |  | M-101-4.1 | Maintenace of Traffic | LS | 1 | 6000 | 6000 | 6000
|  |  |  | M-101-4.2 | Type 2 Aircraft Barricade - Contractor Furnished and Maintained | EA | 60 | 500 | 30000 | 500
|  |  |  | P-101-5.1 | Miscellaneous Demolition | LS | 1 | 13000 | 13000 | 13000
|  |  |  | P-101-5.2 | HMA Pavement Cold Planing (All Depths) | TON | 3500 | 13 | 45500 | 13
|  |  |  | P-152-4.1 | Unclassified Excavation to Embankment or On-Site Locations | CY | 100 | 20 | 2000 | 20
|  |  |  | P-152-4.2 | Select Rock Borrow Material from Off-site Sources | CY | 100 | 50 | 5000 | 50
|  |  |  | P-209-5.1 | Crushed Aggregate Base Course | TON | 100 | 50 | 5000 | 50
|  |  |  | P-401-8.1a | Bituminous Surface Course, PG70-22 | TON | 1250 | 120 | 150000 | 120
|  |  |  | P-401-8.1b | Bituminous Base Course, PG64-22 | TON | 2300 | 110 | 253000 | 110
|  |  |  | P-603-5.1 | Bituminous Tack Coat | GAL | 2200 | 5 | 11000 | 5
|  |  |  | P-620-5.1.1 | Permanent Runway and Taxiway Painting with Reflective Media | SF | 210 | 5 | 1050 | 5
|  |  |  | P-620-5.1.2 | Permanent Runway and Taxiway Painting without Reflective Media | SF | 1000 | 4 | 4000 | 4
|  |  |  | P-620-5.1.3 | Temporary Runway and Taxiway Painting without Reflective Media | SF | 210 | 4 | 840 | 4
[7 empty] | Total: |  | 667315
BACK TO INDEX

## M15
ID: | M15 |  | County: | Perry
City: | Linden |  | Grand Division: | Middle
Airport: | James Tucker Airport
Project Description: |  | Tree Removal
TAD #: | 32-555-0563-19
Bid Date: | 2019-03-12
|  |  |  | Item No. | Description | Unit | Quantity | Eclipse Brand Builders |  | Graves & Graves |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | SS-120-3.1 | Site Preparation | LS | 1 | 3650 | 3650 | 5000 | 5000 | 4325
|  |  |  | SS-140-5.1 | Demolition & Disposal - Roofing & Gutter System | LS | 1 | 4000 | 4000 | 9480 | 9480 | 6740
|  |  |  | SS-290-27.1 | Install New Roofing & Gutter System | LS | 1 | 18300 | 18300 | 44500 | 44500 | 31400
|  |  |  | SS-290-27.2 | Interior Electrical Upgrade | LS | 1 | 17250 | 17250 | 17800 | 17800 | 17525
|  |  |  | SS-290-27.3 | Interior Concrete Slab Construction | LS | 1 | 15000 | 15000 | 18000 | 18000 | 16500
|  |  |  | SS-290-27.4 | Window Replacement | LS | 1 | 600 | 600 | 2600 | 2600 | 1600
|  |  |  | SS-140-5.2 | Demolition & Disposal Exterior Siding & Door Panels | LS | 1 | 8000 | 8000 | 9850 | 9850 | 8925
|  |  |  | SS-290-27.5 | Install New Hangar Siding & Door Skin Panels | LS | 1 | 26600 | 26600 | 32600 | 32600 | 29600
|  |  |  | L-110-5.1 | Trench & Install 385 LF 1.5" Schedule 40 PVC Conduit | LS | 1 | 5090 | 5090 | 2500 | 2500 | 3795
|  |  |  | L-110-5.2 | Trench & Install 50 LF 2" Schedule 40 PVC Conduit | LS | 1 | 660 | 660 | 515 | 515 | 587.5
[7 empty] | Total: |  | 99150 |  | 142845
BACK TO INDEX

## M54
ID: | M54 |  | County: | Wilson
City: | Lebanon |  | Grand Division: | Middle
Airport: | Lebanon Municipal
Project Description: |  | Road Relocation
TAD #: | 62-555-0532-20
Bid Date: | 2019-04-04
|  |  |  | Item No. | Description | Unit | Quantity | Appalachian Foothills Contracting |  | Stansell Electric Company |  | Precision Approach, LLC |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | C-105-8.1 | Mobilization and Demobilization | LS | 1 | 31000 | 31000 | 66563 | 66563 | 119551 | 119551 | 72371.3333
|  |  |  | C-105-8.2 | Construction Layout and As-Build Drawings | LS | 1 | 12500 | 12500 | 21266 | 21266 | 30575 | 30575 | 21447
|  |  |  | M-101-4.1 | Maintenance of Traffic | LS | 1 | 57000 | 57000 | 51072 | 51072 | 63755 | 63755 | 57275.6667
|  |  |  | MTEMC - 1 | MTEMC 3 Phase Sector & Pad | EA | 1 | 4000 | 4000 | 2031 | 2031 | 3500 | 3500 | 3177
|  |  |  | MTEMC - 2 | Single Phase Transformer Box Pad | EA | 1 | 2500 | 2500 | 1419 | 1419 | 2450 | 2450 | 2123
|  |  |  | MTEMC - 3 | MTEMC Meter Base | EA | 1 | 1500 | 1500 | 732 | 732 | 800 | 800 | 1010.6667
|  |  |  | MTEMC - 4 | MTEMC Primary 3 Phase Power Duct 2-Way 4-Inch Primary Power Duct | LF | 15 | 100 | 1500 | 106 | 1590 | 65 | 975 | 90.3333
|  |  |  | MTEMC - 5 | MTEMC Single Phase 2 Inch Primary Power Duct | LF | 42 | 75 | 3150 | 37.6 | 1579.2 | 20 | 840 | 44.2
|  |  |  | MTEMC - 6 | MTEMC 3 Inch Secondary Power Duct Concrete Encased | LF | 40 | 50 | 2000 | 27.2 | 1088 | 30 | 1200 | 35.7333
|  |  |  | MTEMC - 7 | MTEMC 3 Inch Secondary Power Duct | LF | 60 | 35 | 2100 | 16.1 | 966 | 22.5 | 1350 | 24.5333
|  |  |  | P-610-6.1 | Sawcut , Backfill, and Patch Roadway Cut for Duct Bank Crossings | LS | 1 | 5000 | 5000 | 8181 | 8181 | 35000 | 35000 | 16060.3333
|  |  |  | L-100-5.1 | Electrical Demolition | LS | 1 | 8500 | 8500 | 26225 | 26225 | 45000 | 45000 | 26575
|  |  |  | L-100-5.2 | Site Locating, Duct Tracing and Pot Holing | LS | 1 | 5000 | 5000 | 8513 | 8513 | 15000 | 15000 | 9504.3333
|  |  |  | L-107-5.1 | L-806(L) SIZE 1, STYLE 1B, LED Windcone and Foundation, Including New L-830 Isolation Transformer | EA | 1 | 8000 | 8000 | 8782 | 8782 | 6145 | 6145 | 7642.3333
|  |  |  | L-107-5.2 | L-807(L) Size 2, STYLE 1B, LED Windcone and Foundation, Including New L-830 Isolation Transformer | EA | 1 | 12000 | 12000 | 5772 | 5772 | 7615 | 7615 | 8462.3333
|  |  |  | L-108-5.1 | No. 6 AWG, 5 kV, L-824 Type C Cable (PAPI), Installed in Duct Bank or Conduit | LF | 15850 | 1.75 | 27737.5 | 2 | 31700 | 1.75 | 27737.5 | 1.8333
|  |  |  | L-108-5.2 | No. 8 AWG, 5 kV, L-824 Type C Cable, Installed in Duct Bank or Conduit | LF | 19700 | 1.45 | 28565 | 1.7 | 33490 | 1.65 | 32505 | 1.6
|  |  |  | L-108-5.3 | No. 6 AWG, Solid, Bare Counterpoise Wire, Installed in Trench, Above the Duct Bank or Conduit, Including Connections/Terminations and Ground Rods | LF | 17500 | 2 | 35000 | 1.5 | 26250 | 2.25 | 39375 | 1.9167
|  |  |  | L-108-5.4 | No. 6 AWG, Insulated, Stranded Equipment Ground, Installed in Duct Bank or Conduit | LF | 7900 | 1.75 | 13825 | 1.9 | 15010 | 1.8 | 14220 | 1.8167
|  |  |  | L-109-7.1 | Construction of Prefabricated Concrete Vault and Foundation in Place | LS | 1 | 172500 | 172500 | 154660 | 154660 | 286690 | 286690 | 204616.6667
|  |  |  | L-109-7.2 | L-828 Constant Current Regulator, 7.5KW | EA | 1 | 12500 | 12500 | 12095 | 12095 | 11050 | 11050 | 11881.6667
|  |  |  | L-110-5.1 | Non-Encased, Electrical Conduit, 1-Way 2-inch | LF | 11400 | 5.5 | 62700 | 14.7 | 167580 | 8 | 91200 | 9.4
|  |  |  | L-110-5.2 | Non-Encased, Electrical Duct Bank, 2-Way 2-inch | LF | 4500 | 9 | 40500 | 21.5 | 96750 | 16 | 72000 | 15.5
|  |  |  | L-110-5.3 | Concrete Encased, Electrical Duct Bank, 2-Way 2-inch | LF | 40 | 50 | 2000 | 25.6 | 1024 | 35 | 1400 | 36.8667
|  |  |  | L-110-5.4 | Non-Encased, Electrical Duct Bank, 4-Way 4-inch | LF | 212 | 40 | 8480 | 61.7 | 13080.4 | 25 | 5300 | 42.2333
|  |  |  | L-110-5.5 | Concrete Encased, Electrical Duct Bank, 4-Way 4-inch | LF | 988 | 65 | 64220 | 90.8 | 89710.4 | 85 | 83980 | 80.2667
|  |  |  | L-115-5.1 | Electrical Handhole (3 ft. X 3 ft.), Aircraft Rated | EA | 5 | 14650 | 73250 | 14002 | 70010 | 8190 | 40950 | 12280.6667
|  |  |  | L-115-5.2 | L-867D Junction Cans | EA | 18 | 900 | 16200 | 1159 | 20862 | 1085 | 19530 | 1048
|  |  |  | L-115-5.3 | Polymer Concrete Pullbox | EA | 3 | 1200 | 3600 | 490 | 1470 | 1850 | 5550 | 1180
|  |  |  | L-125-5.1 | L-849(L) LED, Style C, Runway End Indicator Light (REIL) System | EA | 2 | 13250 | 26500 | 14752 | 29504 | 12450 | 24900 | 13484
|  |  |  | L-125-5.2 | L-861(L) LED Elevated Runway Edge Light Installed on New L-867 Base Can | EA | 49 | 1100 | 53900 | 1325 | 64925 | 1275 | 62475 | 1233.3333
|  |  |  | L-125-5.3 | L-861E(L) LED Elevated Runway Threshold/End Light Installed on New L-867 Base Can | EA | 32 | 1150 | 36800 | 1211 | 38752 | 1335 | 42720 | 1232
|  |  |  | L-125-5.4 | L-858(L) LED Sign Unit, Size 2, 2 Module | EA | 5 | 3200 | 16000 | 2505 | 12525 | 2300 | 11500 | 2668.3333
|  |  |  | L-125-5.5 | L-858(L) LED Sign Unit, Size 2, 3 Module | EA | 1 | 3700 | 3700 | 3370 | 3370 | 3395 | 3395 | 3488.3333
|  |  |  | L-125-5.6 | PAPI Power Modifications | LS | 1 | 5500 | 5500 | 11703 | 11703 | 9700 | 9700 | 8967.6667
|  |  |  | L-125-5.7 | Size 2, 2 Module Sign Base Demolition and Installation | EA | 1 | 2200 | 2200 | 1820 | 1820 | 1257 | 1257 | 1759
|  |  |  | L-125-5.8 | Size 2, 3 Module Sign Base Demolition and Installation | EA | 1 | 2500 | 2500 | 1917 | 1917 | 1460 | 1460 | 1959
|  |  |  | L-125-5.9 | Spare L-861(L) LED Elevated Runway Edge Light | EA | 4 | 350 | 1400 | 203 | 812 | 335 | 1340 | 296
|  |  |  | L-125-5.10 | Spare L-861E(L) LED Elevated Runway Threshold/End Light | EA | 2 | 375 | 750 | 208 | 416 | 325 | 650 | 302.6667
[7 empty] | Total: |  | 866077.5 |  | 1105215 |  | 1224640.5
BACK TO INDEX

## MKL (1)
ID: | MKL |  | County: | Madison
City: | Jackson |  | Grand Division: | West
Airport: | McKellar-Sipes Regional
Project Description: |  | T-Hangar Renovation
TAD #: | 68-555-0120-18
Bid Date: | 2019-01-02
|  |  |  | Item No. | Description | Unit | Quantity | Guardian Electric Corp. |  | Average Unit Cost
[8 empty] | Unit Price | Total Price
|  |  |  | GP 205-2 | Mobilization | LS | 1 | 1200 | 1200 | 1200
|  |  |  | L-108-1.1 | Trench for Edge Lighting Circuit, 5kV Cable | LF | 200 | 3 | 600 | 3
|  |  |  | L-108-1.2 | Trench for Counterpoise Ground Wire | LF | 200 | 2.25 | 450 | 2.25
|  |  |  | L-108-2.1 | Underground Cable, No. 8 AWG, 5kV, L-824, Type "C" Cable, Installed in Trench | LF | 200 | 1.75 | 350 | 1.75
|  |  |  | L-108-3.1 | Counterpoise Wire, No. 6 AWG, Solid, Bare Counterpoise Wire, Installed in Trench, Including Ground Rods and Ground Connectors | LF | 200 | 2 | 400 | 2
|  |  |  | L-125-5.3 | Install New 2-Module Sign, L-858(Y/L), LED Internally Lighted, Size 1, Style 2, on New Foundation and Base, Complete in Place | EA | 1 | 3600 | 3600 | 3600
[5 empty] | System Testing | LS | 1 | 400 | 400 | 400
[7 empty] | Total: |  | 7000
BACK TO INDEX

## MKL (2)
ID: | MKL |  | County: | Madison
City: | Jackson |  | Grand Division: | West
Airport: | McKellar-Sipes Regional
Project Description: |  | Airfield Lighting Improvements (Ph. 1)
TAD #: | 95-555-0763-19
Bid Date: | 2019-06-11
RUNWAY 2 APPROACH
|  |  |  | Item No. | Description | Unit | Quantity | Chancellor Brothers |  | Average Unit Cost
[8 empty] | Unit Price | Total Price
|  |  |  | PLANS | TEMPORARY CONSTRUCTION ENTRANCE/EXIT (INSTALLATION & REMOVAL) | LS | 1 | 1100 | 1100 | 1100
|  |  |  | C-100 | CONTRACTOR QUALITY CONTROL PROGRAM (CQCP) | LS | 1 | 3850 | 3850 | 3850
|  |  |  | C-102-5.1 | EROSION CONTROL - SILT FENCE (INSTALLATION & REMOVAL) | LF | 10500 | 4.95 | 51975 | 4.95
|  |  |  | C-102-5.2 | EROSION CONTROL - WATTLES (INSTALLATION & REMOVAL) | EA | 13 | 660 | 8580 | 660
|  |  |  | C-105 | MOBILIZATION | LS | 1 | 13750 | 13750 | 13750
|  |  |  | P-151-4.1 | CLEARING & GRUBBING | AC | 17 | 5775 | 98175 | 5775
|  |  |  | P-151-4.2 | CLEARING ONLY | AC | 2 | 6600 | 13200 | 6600
|  |  |  | T-901-5.1 | SEEDING | AC | 17 | 1100 | 18700 | 1100
|  |  |  | T-908-5.1 | MULCHING | AC | 17 | 1100 | 18700 | 1100
[7 empty] | Total: |  | 228030
RUNWAY 29 APPROACH
|  |  |  | Item No. | Description | Unit | Quantity | Chancellor Brothers |  | Average Unit Cost
[8 empty] | Unit Price | Total Price
|  |  |  | PLANS | TEMPORARY CONSTRUCTION ENTRANCE/EXIT (INSTALLATION & REMOVAL) | LS | 1 | 1100 | 1100 | 1100
|  |  |  | C-100 | CONTRACTOR QUALITY CONTROL PROGRAM (CQCP) | LS | 1 | 3850 | 3850 | 3850
|  |  |  | C-102-5.1 | EROSION CONTROL - SILT FENCE (INSTALLATION & REMOVAL) | LF | 6700 | 4.95 | 33165 | 4.95
|  |  |  | C-102-5.2 | EROSION CONTROL - WATTLES (INSTALLATION & REMOVAL) | EA | 9 | 660 | 5940 | 660
|  |  |  | C-105 | MOBILIZATION | LS | 1 | 13750 | 13750 | 13750
|  |  |  | P-151-4.1 | CLEARING & GRUBBING | AC | 16 | 5775 | 92400 | 5775
|  |  |  | P-151-4.2 | CLEARING ONLY | AC | 2 | 6600 | 13200 | 6600
|  |  |  | T-901-5.1 | SEEDING | AC | 16 | 1100 | 17600 | 1100
|  |  |  | T-908-5.1 | MULCHING | AC | 16 | 1100 | 17600 | 1100
[7 empty] | Total: |  | 198605
RUNWAY 20 APPROACH
|  |  |  | Item No. | Description | Unit | Quantity | Chancellor Brothers |  | Average Unit Cost
[8 empty] | Unit Price | Total Price
|  |  |  | PLANS | TEMPORARY CONSTRUCTION ENTRANCE/EXIT (INSTALLATION & REMOVAL) | LS | 1 | 1100 | 1100 | 1100
|  |  |  | C-100 | CONTRACTOR QUALITY CONTROL PROGRAM (CQCP) | LS | 1 | 3300 | 3300 | 3300
|  |  |  | C-102-5.1 | EROSION CONTROL - SILT FENCE (INSTALLATION & REMOVAL) | LF | 1500 | 4.95 | 7425 | 4.95
|  |  |  | C-105 | MOBILIZATION | LS | 1 | 11000 | 11000 | 11000
|  |  |  | P-151-4.1 | CLEARING & GRUBBING | AC | 2 | 5775 | 11550 | 5775
|  |  |  | P-151-4.2 | CLEARING ONLY | AC | 6 | 6600 | 39600 | 6600
|  |  |  | F-162-5.1 | CHAIN-LINK FENCE | LF | 630 | 27.5 | 17325 | 27.5
|  |  |  | F-162-5.2 | TEMPORARY SECURITY FENCE (INSTALLATION & REMOVAL) | LF | 710 | 27.5 | 19525 | 27.5
|  |  |  | F-162-5.3 | MANUAL GATE (20 FEET WIDE) | EA | 1 | 1650 | 1650 | 1650
|  |  |  | T-901-5.1 | SEEDING | AC | 2 | 1100 | 2200 | 1100
|  |  |  | T-908-5.1 | MULCHING | AC | 2 | 1100 | 2200 | 1100
[7 empty] | Total: |  | 116875
BACK TO INDEX

## MNV
ID: | MNV |  | County: | Monroe
City: | Madisonville |  | Grand Division: | East
Airport: | Monroe County
Project Description: |  | Elevated Runway Guard Lights
TAD #: | 75-555-0157-19
Bid Date: | 2019-08-08
|  |  |  | Item No. | Description | Unit | Quantity | Blount Excavating |  | Talley Construction |  | Wilson Construction |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | 105-01 | Construction Stakes, Lines and Grades | L.S. | 1 | 30000 | 30000 | 45587.41 | 45587.41 | 53000 | 53000 | 42862.47
|  |  |  | 201-01 | Clearing and Grubbing | L.S. | 1 | 35000 | 35000 | 78603.02 | 78603.02 | 29500 | 29500 | 47701.0067
|  |  |  | 203-01 | Road & Drainage Excavation (Unclassified) | C.Y. | 74831 | 3.1 | 231976.1 | 3.58 | 267894.98 | 6.32 | 472931.92 | 4.3333
|  |  |  | 203-03 | Borrow Excavation (Unclassified) (Total 120,750 C.Y.) | C.Y. | 45950 | 3.75 | 172312.5 | 5.53 | 254103.5 | 8.25 | 379087.5 | 5.8433
|  |  |  | 203-04 | Placing and spreading topsoil | C.Y. | 12000 | 4.5 | 54000 | 4.35 | 52200 | 13.2 | 158400 | 7.35
|  |  |  | 209-08.03 | Temporary Silt Fence (With Backing) | L.F. | 1800 | 2.25 | 4050 | 1.58 | 2844 | 1.65 | 2970 | 1.8267
|  |  |  | 209-08.07 | Rock Check Dam | EACH | 14 | 320 | 4480 | 525 | 7350 | 550 | 7700 | 465
|  |  |  | 209-40.30 | Catch Basin Protection (Type A) | EACH | 4 | 1100 | 4400 | 1050 | 4200 | 1100 | 4400 | 1083.3333
|  |  |  | 209-40.41 | Catch Basin Filter Assembly (Type 1) | EACH | 1 | 1100 | 1100 | 1050 | 1050 | 1100 | 1100 | 1083.3333
|  |  |  | 303-01 | Mineral Aggregate, Type A Base, Grading D | TON | 4507 | 31 | 139717 | 29.96 | 135029.72 | 35 | 157745 | 31.9867
|  |  |  | 303-10.04 | Mineral Aggregate (Size 8 - 3/8" to 1/2") | TON | 5 | 40 | 200 | 183.84 | 919.2 | 27 | 135 | 83.6133
|  |  |  | 303-10.05 | Mineral Aggregate (Size 5 - 1/2" to 1") | TON | 5 | 30 | 150 | 68.32 | 341.6 | 27 | 135 | 41.7733
|  |  |  | 303-10.06 | Mineral Aggregate (Size 3 - 1" to 1-1/2") | TON | 5 | 30 | 150 | 68.32 | 341.6 | 27 | 135 | 41.7733
|  |  |  | 307-01.06 | Asphalt Concrete Mix (PG64-22) (BPMB-HM) Grading B | TON | 705 | 124 | 87420 | 118.65 | 83648.25 | 124 | 87420 | 122.2167
|  |  |  | 402-01 | Bituminous Material for Prime Coat (PC) | TON | 7 | 1560 | 10920 | 1491 | 10437 | 1420 | 9940 | 1490.3333
|  |  |  | 403-01 | Bituminous Material for Tack Coat (PC) | TON | 2 | 900 | 1800 | 861 | 1722 | 820 | 1640 | 860.3333
|  |  |  | 407-20.05 | Saw Cutting Asphalt Pavement | L.F. | 35 | 5 | 175 | 6.3 | 220.5 | 10 | 350 | 7.1
|  |  |  | 411-01.10 | ACS Mix (PG64-22) Grading D | TON | 397 | 144 | 57168 | 137.03 | 54400.91 | 144 | 57168 | 141.6767
|  |  |  | 607-03.02 | 18" Concrete Pipe Culvert (Class III) | L.F. | 40 | 57 | 2280 | 55.27 | 2210.8 | 66 | 2640 | 59.4233
|  |  |  | 607-05.02 | 24" Concrete Pipe Culvert (Class III) | L.F. | 468 | 114 | 53352 | 48.39 | 22646.52 | 72 | 33696 | 78.13
|  |  |  | 607-37.05 | Corrugated Metal Pipe Culvert | L.F. | 14 | 120 | 1680 | 307.32 | 4302.48 | 91 | 1274 | 172.7733
|  |  |  | 611-07.55 | 18in Endwall (Cross Drain) 4:1 | EACH | 1 | 3200 | 3200 | 778.97 | 778.97 | 2750 | 2750 | 2242.99
|  |  |  | 611-07.57 | 24in Endwall (Cross Drain) 3:1 | EACH | 3 | 4400 | 13200 | 717.88 | 2153.64 | 2860 | 8580 | 2659.2933
|  |  |  | 611-42.01 | Catch Basins, Type 42, 0'-4' Depth | EACH | 4 | 3300 | 13200 | 2276.11 | 9104.44 | 4400 | 17600 | 3325.37
|  |  |  | 611-42.02 | Catch Basins, Type 42, 4'-8' Depth | EACH | 1 | 4600 | 4600 | 2262.93 | 2262.93 | 4840 | 4840 | 3900.9767
|  |  |  | 702-01.01 | Extruded Sloping Curb | L.F. | 300 | 17 | 5100 | 17.91 | 5373 | 16.78 | 5034 | 17.23
|  |  |  | 702-10.02 | Wheel Stop | EACH | 35 | 83 | 2905 | 78.75 | 2756.25 | 88 | 3080 | 83.25
|  |  |  | 707-01.11 | Chain Link Fence (6 Foot) | L.F. | 2490 | 17 | 42330 | 16.01 | 39864.9 | 16.5 | 41085 | 16.5033
|  |  |  | 707-01.12 | End & Corner Post Assembly (Chain-Link Fence 6') | EACH | 15 | 315 | 4725 | 262.5 | 3937.5 | 313 | 4695 | 296.8333
|  |  |  | 707-01.13 | Gate - Chain Link Fence 6 Foot (Description) | EACH | 2 | 4400 | 8800 | 2205 | 4410 | 2750 | 5500 | 3118.3333
|  |  |  | 707-08.11 | High-Visibility Construction Fence | L.F. | 1700 | 5 | 8500 | 1.26 | 2142 | 1.32 | 2244 | 2.5267
|  |  |  | 709-05.05 | Machined Rip-Rap (Class A-3) | TON | 217 | 38 | 8246 | 46.84 | 10164.28 | 55 | 11935 | 46.6133
|  |  |  | 709-05.06 | Machined Rip-Rap (Class A-1) | TON | 202 | 38 | 7676 | 43.64 | 8815.28 | 55 | 11110 | 45.5467
|  |  |  | 712-04.01 | Flexible Drums (Channelizing) | EACH | 50 | 50 | 2500 | 52.5 | 2625 | 50 | 2500 | 50.8333
|  |  |  | 712-05.01 | Warning Lights (Type A) | EACH | 8 | 50 | 400 | 52.5 | 420 | 45 | 360 | 49.1667
|  |  |  | 712-07.03 | Temporary Barricades (Type III) | L.F. | 68 | 25 | 1700 | 24.68 | 1678.24 | 25 | 1700 | 24.8933
|  |  |  | 716-05.08 | Painted Pavement Marking (Parking Line) | L.F. | 460 | 3.15 | 1449 | 2.99 | 1375.4 | 3.12 | 1435.2 | 3.0867
|  |  |  | 716-13.01 | Spray Thermo Pvmt Marking (60mil) (4in line) | L.M. | 0.75 | 4700 | 3525 | 4488.75 | 3366.5625 | 4702 | 3526.5 | 4630.25
|  |  |  | 717-01 | Mobilization | LS | 1 | 160750 | 160750 | 196322.84 | 196322.84 | 139750 | 139750 | 165607.6133
|  |  |  | 725-20.71 | Electrical Connection | LS | 1 | 98800 | 98800 | 115500 | 115500 | 135000 | 135000 | 116433.3333
|  |  |  | 740-10.03 | Geotextile (Type III, Erosion Control) | S.Y. | 440 | 7.2 | 3168 | 3.15 | 1386 | 3.3 | 1452 | 4.55
|  |  |  | 801-01.07 | Temporary Seeding (With Mulch) | UNIT | 1485 | 22 | 32670 | 31.5 | 46777.5 | 24.75 | 36753.75 | 26.0833
|  |  |  | 805-12.02 | Erosion Control Blanket (Type II) | S.Y. | 9407 | 1.2 | 11288.4 | 1.31 | 12323.17 | 1.38 | 12981.66 | 1.2967
|  |  |  | W-1 | 2" Class 200 PVC Water Line | L.F. | 156 | 13 | 2028 | 26.5 | 4134 | 11 | 1716 | 16.8333
|  |  |  | W-2 | 6" Class 200 PVC Water Line | L.F. | 2139 | 22 | 47058 | 30.53 | 65303.67 | 18 | 38502 | 23.51
|  |  |  | W-3 | 2" Gate Valve Assembly | EA. | 2 | 1000 | 2000 | 1372.62 | 2745.24 | 715 | 1430 | 1029.2067
|  |  |  | W-4 | 6" Gate Valve Assembly | EA. | 4 | 1550 | 6200 | 1178.19 | 4712.76 | 825 | 3300 | 1184.3967
|  |  |  | W-5 | Connect to existing 2" water line | EA. | 3 | 700 | 2100 | 450.69 | 1352.07 | 660 | 1980 | 603.5633
|  |  |  | W-6 | Fire Hydrant Assembly | EA. | 1 | 5700 | 5700 | 4805.63 | 4805.63 | 4400 | 4400 | 4968.5433
|  |  |  | W-7 | Restore Asphalt | L.F. | 150 | 50 | 7500 | 25.54 | 3831 | 30 | 4500 | 35.18
|  |  |  | W-8 | 6" Master Meter & Vault | EA. | 1 | 20200 | 20200 | 11358.37 | 11358.37 | 33000 | 33000 | 21519.4567
|  |  |  | W-9 | Backflow Preventor in hot box | EA. | 1 | 17000 | 17000 | 16463.5 | 16463.5 | 20000 | 20000 | 17821.1667
|  |  |  | W-10 | Cut cap and/or plug existing 2" water line | EA. | 3 | 400 | 1200 | 564.6 | 1693.8 | 1100 | 3300 | 688.2
[7 empty] | Total: |  | 1442049 |  | 1619991.4325 |  | 2027407.53
BACK TO INDEX

## MOR
ID: | MOR |  | County: | Hamblen
City: | Morristown |  | Grand Division: | East
Airport: | Moore-Murrell Field
Project Description: |  | Taxiway F Holdpad PCC Repairs
TAD #: | 75-555-0746-18
Bid Date: | 2019-03-28
|  |  |  | Item No. | Description | Unit | Quantity | East TN Turf & Landscape |  | Average Unit Cost
[8 empty] | Unit Price | Total Price
|  |  |  | 1000 | Mobilization | LS | 1 | 15000 | 15000 | 15000
|  |  |  | P-151 | Clearing, Grubbing, Tree Removal | ACRE | 6 | 9500 | 57000 | 9500
|  |  |  | E-893 | Temporary Silt Fence | LF | 1000 | 3 | 3000 | 3
|  |  |  | TDOT-801 | Seeding | ACRE | 6 | 2000 | 12000 | 2000
[7 empty] | Total: |  | 87000
BACK TO INDEX

## MQY (1)
ID: | MQY |  | County: | Rutherford
City: | Smyrna |  | Grand Division: | Middle
Airport: | Smyrna Airport
Project Description: |  | Apron Rehabilitation
TAD #: | 76-555-0139-19
Bid Date: | 2019-03-05
|  |  |  | Item No. | Description | Unit | Quantity | Precision Approach |  | Specter Corporation |  | Guardian Electric |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | 1 | Guard Lights | LS | 2 | 5500 | 11000 | 3977 | 7954 | 3411 | 6822 | 4296
|  |  |  | 2 | Mounting Cans | LS | 2 | 1643 | 3286 | 300 | 600 | 850 | 1700 | 931
|  |  |  | 3 | Trenching - Minimum 18" | LF | 1000 | 2.6 | 2600 | 4.6 | 4600 | 6.52 | 6520 | 4.5733
|  |  |  | 4 | Penetrations for Mounting Cans | LS | 8 | 300 | 2400 | 950 | 7600 | 541 | 4328 | 597
|  |  |  | 5 | Conduit - 2" | LF | 1000 | 2.75 | 2750 | 2.4 | 2400 | 2.57 | 2570 | 2.5733
|  |  |  | 6 | Wire (#1 copper) | LF | 9000 | 2 | 18000 | 2 | 18000 | 3.53 | 31770 | 2.51
|  |  |  | 7 | Wire (#8 copper) | LF | 8000 | 1 | 8000 | 0.5 | 4000 | 1.63 | 13040 | 1.0433
|  |  |  | 8 | Wire (#6 copper) | LF | 5000 | 1 | 5000 | 0.6 | 3000 | 1.88 | 9400 | 1.16
|  |  |  | 9 | Mobilization | LS | 1 | 12000 | 12000 | 3000 | 3000 | 5950 | 5950 | 6983.3333
|  |  |  | 10 | Miscellanoues | LS | 1 | 8000 | 8000 | 36512 | 36512 | 5200 | 5200 | 16570.6667
[7 empty] | Total: |  | 73036 |  | 87666 |  | 87300
BACK TO INDEX

## MQY (2)
ID: | MQY |  | County: | Rutherford
City: | Smyrna |  | Grand Division: | Middle
Airport: | Smyrna Airport
Project Description: |  | Runway Reconstruction and Lighting Upgrade
TAD #: | 36-555-0162-19
Bid Date: | 2019-04-25
|  |  |  | Item No. | Description | Unit | Quantity | Jones Brothers |  | Average Unit Cost
[8 empty] | Unit Price | Total Price
|  |  |  | C-100-14.1 | Contractor Quality Control Program (CQCP) | LS | 1 | 28500 | 28500 | 28500
|  |  |  | C-105-8.1 | Mobilization and Demobilization | LS | 1 | 35000 | 35000 | 35000
|  |  |  | C-105-8.2 | Construction Layout and As-Built Drawings | LS | 1 | 10000 | 10000 | 10000
|  |  |  | M-101-4.1 | Maintenance of Traffic | LS | 1 | 15000 | 15000 | 15000
|  |  |  | P-101-5.1 | Concrete Slab Removal | SY | 585 | 30 | 17550 | 30
|  |  |  | P-101-5.2 | Joint and Crack Repair | LF | 7905 | 3 | 23715 | 3
|  |  |  | P-101-5.3 | Concrete Spall Repair | SI | 1200 | 5 | 6000 | 5
|  |  |  | P-501-8.1 | PCC Slab Replacement | SY | 585 | 185 | 108225 | 185
|  |  |  | P-620-5.1a | Marking Removal | SF | 2568 | 1.5 | 3852 | 1.5
|  |  |  | P-620-5.2b | Airfield Pavement Painting w/ Reflective Media | SF | 1210 | 3 | 3630 | 3
|  |  |  | P-620-5.3c | Airfield Pavement Painting w/ Non-Reflective Media | SF | 1490 | 3 | 4470 | 3
[7 empty] | Total: |  | 255942
BACK TO INDEX

## MQY (3)
ID: | MQY |  | County: | Rutherford
City: | Smyrna |  | Grand Division: | Middle
Airport: | Smyrna Airport
Project Description: |  | Runway Rehabilitation & RSA Improvements
TAD #: | 02-555-0740-20
Bid Date: | 2019-06-18
|  |  |  | Item No. | Description | Unit | Quantity | Axtell's |  | Marking Impressions |  | American Stripers, LLC |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | C-105-9.6.1 | Mobilization and Demobilization | L.S. | 1 | 35000 | 35000 | 250 | 250 | 6000 | 6000 | 13750
|  |  |  | C-105-9.6.2 | Construction Layout | L.S. | 1 | 10000 | 10000 | 500 | 500 | 1200 | 1200 | 3900
|  |  |  | C-105-9.6.3 | As-Built Drawings | L.S. | 1 | 3000 | 3000 | 0 | 0 | 15000 | 15000 | 6000
|  |  |  | M-101-4.1 | Maintenance of Traffic | L.S. | 1 | 2500 | 2500 | 3000 | 3000 | 1500 | 1500 | 2333.3333
|  |  |  | M-101-4.2 | Lighted Runway Closure Markers | EA. | 2 | 30000 | 60000 | 20000 | 40000 | 35000 | 70000 | 28333.3333
|  |  |  | M-101-4.3 | Programmable Two-Way Radio | EA. | 1 | 500 | 500 | 1000 | 1000 | 500 | 500 | 666.6667
|  |  |  | M-101-4.4 | Low Profile Barricade with Lights and Flags | EA. | 40 | 250 | 10000 | 350 | 14000 | 275 | 11000 | 291.6667
|  |  |  | P-101-5.1 | Paint Removal | S.F. | 6500 | 1.25 | 8125 | 0.75 | 4875 | 0.99 | 6435 | 0.99667
|  |  |  | P-101-5.2 | Rubber Removal | L.S. | 1 | 35000 | 35000 | 12800 | 12800 | 7900 | 7900 | 18566.6667
|  |  |  | P-605-5.1 | Asphalt Joint and Crack Repair | L.S. | 1 | 120000 | 120000 | 75000 | 75000 | 135000 | 135000 | 110000
|  |  |  | P-620-5.1 | Airfield Pavement Painting-White Paint Markings with Reflective Media | S.F. | 121700 | 0.65 | 79105 | 0.9 | 109530 | 0.62 | 75454 | 0.72333
|  |  |  | P-620-5.2 | Airfield Pavement Painting-Yellow Paint Markings with Reflective Media | S.F. | 2200 | 3.5 | 7700 | 0.9 | 1980 | 0.75 | 1650 | 1.7167
|  |  |  | P-620-5.3 | Airfield Pavement Painting-Black Paint Markings with No Reflective Media | S.F. | 39800 | 0.4 | 15920 | 0.5 | 19900 | 0.46 | 18308 | 0.45333
[7 empty] | Total: |  | 386850 |  | 282835 |  | 349947
BACK TO INDEX

## RZR
ID: | RZR |  | County: | Bradley
City: | Cleveland |  | Grand Division: | East
Airport: | Cleveland Regional Jetport
Project Description: |  | Security Fencing
TAD #: | 13-555-0137-19
Bid Date: | 2019-03-25
|  |  |  | Item No. | Description | Unit | Quantity | Uretek USA, Inc. |  | Average Unit Cost
[8 empty] | Unit Price | Total Price
|  |  |  | C-105-1 | Mobilization | LS | 1 | 1000 | 1000 | 1000
|  |  |  | C105-2 | Safety Devices | LS | 1 | 1200 | 1200 | 1200
|  |  |  | SP-100 | Concrete Slab Stabilization | LB | 7300 | 5.46 | 39858 | 5.46
[7 empty] | Total: |  | 42058
BACK TO INDEX

## SCX
ID: | SCX |  | County: | Scott
City: | Oneida |  | Grand Division: | East
Airport: | Scott Municipal
Project Description: |  | Runway 14/32 Preventative Maintenance
TAD #: | 75-555-0158-20
Bid Date: | 2019-08-07
|  |  |  | Item No. | Description | Unit | Quantity | Metro Construction Services, LLC |  | American Stripers, LLC |  | Remac, Inc. |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | C-105-1 | MOBILIZATION / DEMOBILIZATION | LS | 1 | 4700 | 4700 | 500 | 500 | 6250 | 6250 | 3816.6667
|  |  |  | C-105-2 | SAFETY DEVICES - PROVIDE 15 LOW PROFILE BARRICADES | LS | 1 | 8600 | 8600 | 3300 | 3300 | 3500 | 3500 | 5133.3333
|  |  |  | P-605-1 | MINOR CRACK REPAIR (TYPE I - III) | LF | 8750 | 0.75 | 6562.5 | 0.96 | 8400 | 1.15 | 10062.5 | 0.95333
|  |  |  | P-605-2 | MINOR CRACK REPAIR (TYPE IV) | LF | 1200 | 1 | 1200 | 2.44 | 2928 | 1.35 | 1620 | 1.5967
|  |  |  | P-605-3 | MINOR CRACK REPAIR (TYPE V) | LF | 850 | 1 | 850 | 2.44 | 2074 | 1.5 | 1275 | 1.6467
|  |  |  | THD-411E | PAVEMENT AND MAJOR CRACK REPAIR | SY | 45 | 80 | 3600 | 140 | 6300 | 150 | 6750 | 123.3333
|  |  |  | P-631-1 | SEAL COAT | GAL | 5470 | 4 | 21880 | 4.75 | 25982.5 | 6.5 | 35555 | 5.0833
[7 empty] | Total: |  | 47392.5 |  | 49484.5 |  | 65012.5
BACK TO INDEX

## SNH
ID: | SNH |  | County: | Hardin
City: | Savannah |  | Grand Division: | West
Airport: | Savannah-Hardin County
Project Description: |  | Apron and Taxiway Paving - Phase 3 & 4
TAD #: | 82-555-0500-19
Bid Date: | 2019-07-17
Schedule 1: Runway and Taxiway Connectors Construction
|  |  |  | Item No. | Description | Unit | Quantity | R.C. Construction, Inc. |  | Cleary Construction, Inc. |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | C-105-6.1 | MOBILIZATION | LS | 1 | 864470 | 864470 | 600000 | 600000 | 732235
|  |  |  | C-100 | CONTRACTOR QUALITY CONTROL PROGRAM (CQCP) | LS | 1 | 401815 | 401815 | 355000 | 355000 | 378407.5
|  |  |  | P-101-5.1 | DEMOLITION / REMOVAL OF EXISTING CONCRETE RUNWAY / CONNECTORS AND BASE MATERIAL, TO INCLUDE HAUL OFF AND DISPOSAL OF MATERIALS | LS | 1 | 280735 | 280735 | 460000 | 460000 | 370367.5
|  |  |  | 150/5370 | SAFETY PLAN AND ALL EQUIPMENT FIXTURES AND APPURTENANCES | LS | 1 | 27565 | 27565 | 80000 | 80000 | 53782.5
|  |  |  | C-102-5.1 | ALL EROSION CONTROL MEASURES TO INCLUDE MAINTENANCE AND REMOVAL, COMPLETE IN PLACE | LS | 1 | 169585 | 169585 | 56000 | 56000 | 112792.5
|  |  |  | P-152-4.1 | UNCLASSIFIED EXCAVATION AND EMBANKMENT, COMPLETE IN PLACE | CY | 25000 | 11.18 | 279500 | 10 | 250000 | 10.59
|  |  |  | P-152-4.2 | UNDERCUTTING, COMPLETE IN PLACE | CY | 1000 | 9.85 | 9850 | 22.35 | 22350 | 16.1
|  |  |  | P-155-8.1 | LIME-TREATED SUBGRADE (0.5' - 1.5' MIX DEPTH), COMPLETE IN PLACE | SY | 20000 | 5.33 | 106600 | 3.9 | 78000 | 4.615
|  |  |  | P-155-8.2 | LIME-TREATED SUBGRADE (1.5' - 2.5' MIX DEPTH), COMPLETE IN PLACE | SY | 20000 | 10.31 | 206200 | 7.5 | 150000 | 8.905
|  |  |  | P-155-8.3 | LIME-TREATED SUBGRADE (2.5' - 3.5' MIX DEPTH), COMPLETE IN PLACE | SY | 20000 | 15.18 | 303600 | 10.4 | 208000 | 12.79
|  |  |  | P-155-8.4 | HYDRATED LIME (DELIVERED AND SPREAD), COMPLETE IN PLACE | TON | 4630 | 220 | 1018600 | 220 | 1018600 | 220
|  |  |  | P-209-5.1 | AGGREGATE BASE (LIMESTONE), COMPLETE IN PLACE | TON | 13970 | 44.6 | 623062 | 39 | 544830 | 41.8
|  |  |  | P-501-8.1 | PORTLAND CEMENT CONCRETE (LIMESTONE AGGREGATE) (TO INCLUDE ALL JOINTS AND SEALANT), COMPLETE IN PLACE | CY | 12900 | 272.11 | 3510219 | 364 | 4695600 | 318.055
|  |  |  | P-620-5.1-1 | RUNWAY AND TAXIWAY STRIPING, COMPLETE IN PLACE (BLACK OUTLINE TO BE INCLUDED IN UNIT PRICE) | SF | 40440 | 1.1 | 44484 | 1.25 | 50550 | 1.175
|  |  |  | D-701-5.1 | 24 INCH RCP CLASS IV, COMPLETE IN PLACE | LF | 140 | 67.2 | 9408 | 114 | 15960 | 90.6
|  |  |  | D-701-5.2 | 30 INCH RCP CLASS IV, COMPLETE IN PLACE | LF | 603 | 90 | 54270 | 115 | 69345 | 102.5
|  |  |  | D-752-5.1 | 24" CONCRETE HEADWALL TYPE "U" WITH GRATE, COMPLETE IN PLACE | EA | 2 | 5665 | 11330 | 3800 | 7600 | 4732.5
|  |  |  | D-752-5.2 | 30" CONCRETE HEADWALL TYPE "U" WITH GRATE, COMPLETE IN PLACE | EA | 4 | 10700 | 42800 | 4750 | 19000 | 7725
|  |  |  | 709-05.06 | TDOT MACHINED RIP-RAP (CLASS A-1), COMPLETE IN PLACE | TON | 825 | 51 | 42075 | 27 | 22275 | 39
|  |  |  | D-705-5.1 | 6" PERIMETER UNDERDRAIN PIPE (TO INCLUDE FILTER FABRIC AND GRAVEL) COMPLETE IN PLACE | LF | 11440 | 12.45 | 142428 | 14.15 | 161876 | 13.3
|  |  |  | D-705-5.2 | 6" LATERAL UNDERDRAIN PIPE, COMPLETE IN PLACE | LF | 5280 | 12.45 | 65736 | 14.5 | 76560 | 13.475
|  |  |  | D-705-5.3 | SINGLE LATERAL DRAIN END TREATMENT, COMPLETE IN PLACE | EA | 36 | 2260 | 81360 | 535 | 19260 | 1397.5
|  |  |  | D-705-5.4 | DUAL LATERAL DRAIN END TREATMENT, COMPLETE IN PLACE | EA | 4 | 4375 | 17500 | 690 | 2760 | 2532.5
|  |  |  | T-905-5.1 | TOPSOILING, COMPLETE IN PLACE | CY | 10755 | 5.4 | 58077 | 4.7 | 50548.5 | 5.05
|  |  |  | T-901-5.1 | SEEDING / MULCHING / FERTILIZING, COMPLETE IN PLACE | ACRE | 20 | 1680 | 33600 | 5400 | 108000 | 3540
[7 empty] | Total: |  | 8404869 |  | 9122114.5
Schedule 2: Lighting System Upgrade
|  |  |  | Item No. | Description | Unit | Quantity | R.C. Construction, Inc. |  | Cleary Construction, Inc. |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | C-105-6.1 | MOBILIZATION | LS | 1 | 90066 | 90066 | 204000 | 204000 | 147033
|  |  |  | P-101-5.1 | DEMOLISION AND DISPOSAL OF EXISTING EQUIPMENT | LS | 1 | 68565 | 68565 | 70000 | 70000 | 69282.5
|  |  |  | L110.3.3 | ELECTRICAL CONDUIT 2" SIZE, BURIED IN TRENCH | LF | 21000 | 5.8 | 121800 | 8.8 | 184800 | 7.3
|  |  |  | L110-3.2 | ELECTRICAL DUCT BANK, 4-4" SIZE, CONCRETE ENCASED | LF | 1200 | 69.5 | 83400 | 62 | 74400 | 65.75
|  |  |  | L110-3.3 | ELECTRICAL DUCT BANK, 4-4" SIZE, DIRECT BURIED IN TRENCH | LF | 5700 | 34.75 | 198075 | 39 | 222300 | 36.875
|  |  |  | L115-2 | ELECTRICAL PULLBOX INSIDE 48" x 48" x 60" DEEP, AIRFIELD TYPE | EA | 22 | 13615 | 299530 | 9100 | 200200 | 11357.5
|  |  |  | L115-2 | ELECTRICAL MANHOLE INSIDE 72" x 72" x 72" DEEP, AIRFIELD TYPE | EA | 8 | 15350 | 122800 | 10000 | 80000 | 12675
|  |  |  | L108-2.2 | No.8 AWG, L-824C 5KV CABLE (RUNWAY CIRCUITS) | LF | 15000 | 1.52 | 22800 | 1.4 | 21000 | 1.46
|  |  |  | L108-2.2 | No.8 AWG, L-824C 5KV CABLE (TAXIWAY CIRCUITS) | LF | 14000 | 1.52 | 21280 | 1.4 | 19600 | 1.46
|  |  |  | L108-2.2 | No.8 AWG, L-824C 5KV CABLE (PAPI CIRCUIT) | LF | 11000 | 1.52 | 16720 | 1.4 | 15400 | 1.46
|  |  |  | L108-2.3 | COUNTERPOISE WIRE, BARE, INSTALLED IN TRENCH, DUCT BANK OR CONDUIT, INCLUDING GROUND RODS AND GROUND CONNECTORS-PER LINEAR FOOT | LF | 25000 | 1.96 | 49000 | 3 | 75000 | 2.48
|  |  |  | L110-3.4 | CABLE MARKERS FOR DUCT BANKS, 200 FEET ON CENTER | EA | 35 | 290 | 10150 | 500 | 17500 | 395
|  |  |  | D705-2 | DRAIN, 6 INCH | LF | 850 | 13.9 | 11815 | 18 | 15300 | 15.95
|  |  |  | L125-2.7 | L-861(L) RUNWAY EDGE LIGHT (LED) (W/ L-867 BASE) L830 ISOC TFMR | EA | 48 | 1135 | 54480 | 1300 | 62400 | 1217.5
|  |  |  | L125-2.7 | L-861E(L) THRESHOLD LIGHT (LED) W/ L-867 BASE L830 ISOC TFMR | EA | 16 | 1170 | 18720 | 1350 | 21600 | 1260
|  |  |  | L125-2.7 | L-861T(L) TAXIWAY EDGE LIGHT (LED) W/ L-867 BASE L830 ISOC TFMR | EA | 140 | 1020 | 142800 | 1130 | 158200 | 1075
|  |  |  | L125-2.8 | L-858(L) LED GUIDANCE SIGN, SIZE 2 (24 INCH), CLASS 2, MODE 2 W/ L-867 BASE WITH CONCRETE FOUNDATIONS | EA | 23 | 5215 | 119945 | 5000 | 115000 | 5107.5
|  |  |  | L125-2.10 | L-881(L) LED PAPI, 2-LIGHT WITH CONTROL CABINET AND CONCRETE FOUNDATIONS | EA | 2 | 22600 | 45200 | 22250 | 44500 | 22425
|  |  |  | L125-2.9 | REIL, DISCONNECT AND PRESERVE. PROVIDE CONCRETE FOUNDATION, INSTALL AND CONNECT TO CIRCUIT | EA | 2 | 3765 | 7530 | 5450 | 10900 | 4607.5
|  |  |  | L108-2.4 | L-823 SERIES CIRCUIT PLUG AND RECEPTACLE CONNECTOR | EA | 454 | 35 | 15890 | 65 | 29510 | 50
|  |  |  | L125-2.14 | L-828/L-829 CONSTANT CURRENT REGULATOR | EA | 2 | 13900 | 27800 | 14500 | 29000 | 14200
|  |  |  | L125-2.15 | L-854 RADIO CONTROLLER AND ANTENNA, INCLUDING CABLING, POWER, AND GROUNDING | EA | 1 | 6780 | 6780 | 4500 | 4500 | 5640
[7 empty] | Total: |  | 1555146 |  | 1675110
BACK TO INDEX

## SYI
ID: | SYI |  | County: | Bedford
City: | Shelbyville |  | Grand Division: | Middle
Airport: | Bomar Field-Shelbyville Municipal
Project Description: |  | Runway/Taxiway Subsidence Repair
TAD #: | 06-555-0567-19
Bid Date: | 2019-02-13
|  |  |  | Item No. | Description | Unit | Quantity | Wright Paving Contractors |  | Average Unit Cost
[8 empty] | Unit Price | Total Price
|  |  |  | SS-120-3.1 | Site Preparation | LS | 1 | 619446.15 | 619446.15 | 619446.15
|  |  |  | SS-140-5.1 | Demolition & Disposal - Civil | LS | 1 | 18900 | 18900 | 18900
|  |  |  | SS-152-5.1 | Site Grading | AC | 58 | 5880 | 341040 | 5880
|  |  |  | SS-210-5.1 | Milled Asphalt & Base Stone Removal | SY | 70390 | 6.02 | 423747.8 | 6.02
|  |  |  | SS-210-5.2 | Variable Depth Asphalt Milling | SY | 1500 | 9.17 | 13755 | 9.17
|  |  |  | SS-220-6.1 | 12" Cement Treated Base Course | SY | 67200 | 15.43 | 1036896 | 15.43
|  |  |  | SS-270-5.1 | Riprap Class A-1 (18" Depth) over Type IV Geotextile | SY | 130 | 13.39 | 1740.7 | 13.39
|  |  |  | SS-300-5.1 | Lockout/Tagout & CCR Calibration | LS | 1 | 3150 | 3150 | 3150
|  |  |  | SS-301-5.1 | Existing Base Mounted Edge Light & Base, Removed | EA | 86 | 210 | 18060 | 210
|  |  |  | SS-301-5.2 | Existing Base Mounted Guidance Sign, Removed | EA | 8 | 315 | 2520 | 315
|  |  |  | SS-301-5.3 | Reinstall Existing Base Mounted Edge Light & Base at New Grade | EA | 67 | 630 | 42210 | 630
|  |  |  | SS-301-5.4 | Install Extension Ring Riser & Concrete Collar on Existing Base Mounted Edge Light | EA | 15 | 525 | 7875 | 525
|  |  |  | SS-301-5.5 | Install Existing L-858 Base Mounted 2-Module Guidance Sign on New Base | EA | 4 | 1050 | 4200 | 1050
|  |  |  | SS-301-5.6 | Install Existing L-858 Base Mounted 3-Module Guidance Sign on New Base | EA | 1 | 1260 | 1260 | 1260
|  |  |  | D-701-5.1 | 30" RCP Culvert - Class III | LF | 50 | 147 | 7350 | 147
|  |  |  | D-701-5.2 | 36" RCP Culvert - Class III | LF | 293 | 115.5 | 33841.5 | 115.5
|  |  |  | D-701-5.3 | RCP Culvert Connection | EA | 4 | 472.5 | 1890 | 472.5
|  |  |  | D-751-5.1 | TDOT 43R Circular Catch Basin w/ Airfield Grate | EA | 3 | 14122.5 | 42367.5 | 14122.5
|  |  |  | D-751-5.2 | Adjust Existing Inlet Grate Elevation | EA | 1 | 1575 | 1575 | 1575
|  |  |  | L-108-5.1 | #8 AWG, 5KV, L-824, Type C Cable, Installed in Trench, Duct Bank or Conduit | LF | 10261 | 1.26 | 12928.86 | 1.26
|  |  |  | L-108-5.2 | #6 AWG, Solid, Bare Counterpoise Wire, Installed in Trench, above Duct Bank or Conduit | LF | 9159 | 1.31 | 11998.29 | 1.31
|  |  |  | L-110-5.1 | Non-Encased Electrical Conduit, 1-Way, 2"C - 18" Minimum Cover | LF | 8907 | 10.5 | 93523.5 | 10.5
|  |  |  | L-110-5.2 | Concrete Encased Electrical Conduit, 2-Way, 2"C - 24" Minimum Cover | LF | 126 | 14.7 | 1852.2 | 14.7
|  |  |  | L-115-5.1 | 2-Can Junction Can Plaza | EA | 2 | 2520 | 5040 | 2520
|  |  |  | P-152-4.1 | Unclassified Excavation | CY | 60200 | 10.4 | 626080 | 10.4
|  |  |  | P-152-4.2 | Rock Excavation with On-Site Disposal | CY | 12000 | 31.5 | 378000 | 31.5
|  |  |  | P-152-4.3 | Unsuitable Excavation | CY | 5000 | 14.44 | 72200 | 14.44
|  |  |  | P-156-5.1 | TDOT Silt Fence w/ Wire Backing | LF | 8800 | 3.78 | 33264 | 3.78
|  |  |  | P-156-5.2 | Type D Catch Basin Inlet Protection | EA | 4 | 409.5 | 1638 | 409.5
|  |  |  | P-156-5.3 | Headwall Silt Traps | EA | 8 | 504 | 4032 | 504
|  |  |  | P-156-5.4 | Rock Sediment Check Dam | EA | 20 | 614.25 | 12285 | 614.25
|  |  |  | P-156-5.5 | Erosion Control Blanket | SY | 6500 | 0.89 | 5785 | 0.89
|  |  |  | P-156-5.6 | Temporary Sediment Trap | EA | 19 | 7875 | 149625 | 7875
|  |  |  | P-209-5.1 | Crushed Aggregate Base Course | TON | 1000 | 41.2 | 41200 | 41.2
|  |  |  | P-401-8.1 | Bituminous Surface Course (1/2" Agg.) | TON | 19950 | 89.36 | 1782732 | 89.36
|  |  |  | P-620-5.1 | Pavement Markings - White w/ Reflective Media | SF | 70200 | 0.68 | 47736 | 0.68
|  |  |  | P-620-5.2 | Pavement Markings - Yellow w/ Reflective Media | SF | 1650 | 0.68 | 1122 | 0.68
|  |  |  | P-620-5.3 | Pavement Marking Removal | SF | 205 | 2.1 | 430.5 | 2.1
|  |  |  | T-901-5.1 | Seeding with Hydro-Mulch | AC | 56 | 2887.5 | 161700 | 2887.5
[7 empty] | Total: |  | 6064997
BACK TO INDEX

## TRI
ID: | TRI |  | County: | Sullivan
City: | Bristol/Johnson/Kingsport |  | Grand Division: | East
Airport: | Tri-Cities Regional
Project Description: |  | Northwest Apron Expansion
TAD #: | 83-555-0206-18
Bid Date: | 2019-07-10
|  |  |  | Item No. | Description | Unit | Quantity | Summers-Taylor, Inc. |  | Average Unit Cost
[8 empty] | Unit Price | Total Price
|  |  |  | C-100-14.1 | Contractor Quality Control Program | LS | 1 | 39500 | 39500 | 39500
|  |  |  | C-102-5.1a | Silt Fence | LF | 1000 | 4.7 | 4700 | 4.7
|  |  |  | C-102-5.1b | Inlet Protection | EA | 4 | 699 | 2796 | 699
|  |  |  | C-102-5.1c | Ditch Wattles | LF | 3600 | 7.5 | 27000 | 7.5
|  |  |  | C-105-6.1 | Mobilization/Demobilization | LS | 1 | 265000 | 265000 | 265000
|  |  |  | C-105-6.2 | Construction Layout | LS | 1 | 35000 | 35000 | 35000
|  |  |  | M-101-4.1 | Owner Furnished Contractor Maintained Barricades | EA. | 25 | 50 | 1250 | 50
|  |  |  | P-150-4.1 | Miscellaneous Demolition | L.S. | 1 | 45000 | 45000 | 45000
|  |  |  | P-150-4.2 | Fence Removal | L.F. | 700 | 9.2 | 6440 | 9.2
|  |  |  | P-152-4.1 | In-Place Embankment - On Site | CY | 31200 | 4.25 | 132600 | 4.25
|  |  |  | P-152-4.2 | Unsuitable Excavation - Off Site | CY | 500 | 25 | 12500 | 25
|  |  |  | P-152-4.3 | Select Soil/Rock Embankment for Undercut Areas - On Site | CY | 500 | 65 | 32500 | 65
|  |  |  | P-152-4.4 | Topsoil Stripping to Stockpile | CY | 12000 | 1.75 | 21000 | 1.75
|  |  |  | P-156-5.1.9 | Permanent Turf Reinforcement Matting | S.Y. | 1000 | 8.9 | 8900 | 8.9
|  |  |  | TN-303.13 | Crusher Run Aggregate | TON | 230 | 40 | 9200 | 40
|  |  |  | P-620-5.1a | Permanent Pavement Markings with Reflective Media | S.F. | 320 | 2.2 | 704 | 2.2
|  |  |  | P-620-5.1b | Permanent Pavement Markings without Refective Media | S.F. | 610 | 2.2 | 1342 | 2.2
|  |  |  | F-162-5.1 | 8' Chain-link Fence with Barbed Wire Incl. Mow Strip | L.F. | 1880 | 65 | 122200 | 65
|  |  |  | F-162-5.2 | 8' Temporary Double Swing Gate (20' wide) | EA. | 1 | 2560 | 2560 | 2560
|  |  |  | D-701-5.1 | RC Pipe, 24", Class V Including Backfill | L.F. | 610 | 80 | 48800 | 80
|  |  |  | D-705-5.1 | 6" Perforated Underdrain Incl. Backfill | L.F. | 1210 | 35 | 42350 | 35
|  |  |  | D-705-5.2 | 6" Non-Perforated Underdrain Incl. Backfill | L.F. | 300 | 24 | 7200 | 24
|  |  |  | D-705-5.3 | Underdrain Cleanout | EA. | 6 | 1640 | 9840 | 1640
|  |  |  | D-751-5.1 | Inlet | EA | 2 | 11800 | 23600 | 11800
|  |  |  | D-751-5.2 | Lower Existing Inlet | EA | 1 | 3130 | 3130 | 3130
|  |  |  | T-901-5.1 | Seeding | AC. | 16 | 833 | 13328 | 833
|  |  |  | T-905-5.1 | Topsoiling From Stockpiles | C.Y. | 8200 | 3 | 24600 | 3
|  |  |  | T-908-5.1 | Flexible Growth Medium | S.Y. | 74200 | 1 | 74200 | 1
|  |  |  | L-108-5.1 | No. 8 AWG, 5 kV, L-824, Type C Cable Installed in Duct | L.F. | 3800 | 2.6 | 9880 | 2.6
|  |  |  | L-108-5.2 | No. 6 AWG, Solid, Bare Counterpoise Wire, Installed in Trench Incl. Ground Rods and Connections | L.F. | 2600 | 2.85 | 7410 | 2.85
|  |  |  | L-110-5.1 | 1-way, 2-Inch, Schedule 40 PVC, Direct Earth Buried | L.F. | 2300 | 9.2 | 21160 | 9.2
|  |  |  | L-110-5.2 | 4-way, 2-Inch, Schedule 40 PVC, Concrete Encased | L.F. | 200 | 57.5 | 11500 | 57.5
|  |  |  | L-115-5.1 | Base Can Plaza, 4 L-867D | EA. | 2 | 13200 | 26400 | 13200
|  |  |  | L-125-5.1 | Re-Install Existing L-861T Taxiway Edge Light on New L-867B Base Can with Re-Installed L-830 Isolation Transformer | EA. | 6 | 859 | 5154 | 859
|  |  |  | L-125-5.2 | L-858 Sign Unit - 2 Module | EA. | 3 | 5730 | 17190 | 5730
|  |  |  | L-125-5.3 | L-861T Taxiway Edge Light, Installed in Turf | EA. | 34 | 1150 | 39100 | 1150
[7 empty] | Total: |  | 1155034
Add Alternate A - Asphalt Apron
|  |  |  | P-209-5.1 | Crushed Aggregate Base Course | TON | 19900 | 27 | 537300 | 27
|  |  |  | P-401-8.1 | Asphalt Surface Course | TON | 4300 | 113 | 485900 | 113
|  |  |  | P-403-8.1 | Asphalt Base Course | TON | 5300 | 97 | 514100 | 97
|  |  |  | P-602-5.1 | Emulsified Asphalt Prime Coat | GAL. | 5800 | 2 | 11600 | 2
|  |  |  | P-603-5.1 | Emulsified Asphalt Tack Coat | GAL. | 5800 | 3.75 | 21750 | 3.75
[7 empty] | Total: |  | 1570650
Add Alternate B - Concrete Apron
|  |  |  | P-209-5.1 | Crushed Aggregate Base Course | TON | 10500 | 28.85 | 302925 | 28.85
|  |  |  | P-401-8.1 | Asphalt Surface Course | TON | 600 | 119 | 71400 | 119
|  |  |  | P-403-8.1 | Asphalt Base Course | TON | 5500 | 97 | 533500 | 97
|  |  |  | P-501-8.1 | Plain Portland Cement Concrete Pavement (12" Depth) | S.Y. | 13880 | 100.95 | 1401186 | 100.95
|  |  |  | P-501-8.2 | Reinforced Portland Cement Concrete Pavement (12" Depth) | S.Y. | 595 | 106 | 63070 | 106
|  |  |  | P-602-5.1 | Emulsified Asphalt Prime Coat | GAL. | 5800 | 2 | 11600 | 2
|  |  |  | P-603-5.1 | Emulsified Asphalt Tack Coat | GAL. | 2500 | 3.85 | 9625 | 3.85
[7 empty] | Total: |  | 2393306
BACK TO INDEX

## XNX
ID: | XNX |  | County: | Sumner
City: | Gallatin |  | Grand Division: | Middle
Airport: | Music City Executive
Project Description: |  | T-Hangar and Apron
TAD #: | 41-555-0140-20
Bid Date: | 2019-01-10
|  |  |  | Item No. | Description | Unit | Quantity | Civil Constructors, LLC |  | Cleary Construction, Inc. |  | Rogers Group, Inc. |  | Average Unit Cost
[8 empty] | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price
|  |  |  | 1 | Site Preparation | LS | 1 | 159950 | 159950 | 236000 | 236000 | 309000 | 309000 | 234983.3333
|  |  |  | 2 | Tiedown Anchor | EA | 12 | 1470 | 17640 | 1600 | 19200 | 1450 | 17400 | 1506.6667
|  |  |  | 3 | Lockout/Tagout and Constant Current Regulator Calibration Procedures | LS | 1 | 11200 | 11200 | 13000 | 13000 | 12075 | 12075 | 12091.6667
|  |  |  | 4 | Existing Base Mounted Edge Light, Removed | EA | 10 | 240 | 2400 | 450 | 4500 | 730 | 7300 | 473.3333
|  |  |  | 5 | L-861T(L) Base Mounted Taxiway Edge Light, Installed on New L-867B Base | EA | 24 | 1810 | 43440 | 2000 | 48000 | 1970 | 47280 | 1926.6667
|  |  |  | 6 | TDOT Crushed Aggregate Base Course, Class A | SY | 2136 | 20 | 42720 | 24 | 51264 | 27 | 57672 | 23.6667
|  |  |  | 7 | TDOT Asphaltic Base Course, Type 307-BM2 | TON | 642 | 121.5 | 78003 | 139 | 89238 | 125 | 80250 | 128.5
|  |  |  | 8 | TDOT Asphaltic Surface Course, Type 411-E | TON | 254 | 142.55 | 36207.7 | 158 | 40132 | 175 | 44450 | 158.5167
|  |  |  | 9 | No. 8 AWG, 5kV, L-824, Type C Cable, Installed in Trench, Duct Bank, or Conduit | LF | 1521 | 3 | 4563 | 3 | 4563 | 3.18 | 4836.78 | 3.06
|  |  |  | 10 | No. 6 AWG, Solid Bare Counterpoise Wire, Installed in Trench, Above the Duct Bank or Conduit, Including Ground Rods and Ground Connectors | LF | 1521 | 2 | 3042 | 2 | 3042 | 1.76 | 2676.96 | 1.92
|  |  |  | 11 | Trenching for Direct-Buried Bare Counterpoise Wire, 8" Minimum Depth | LF | 1432 | 2 | 2864 | 2 | 2864 | 2.12 | 3035.84 | 2.04
|  |  |  | 12 | Non-Encased Electrical Conduit, 1-Way, 2"C, 18" Minimum Cover | LF | 1432 | 9 | 12888 | 10 | 14320 | 9.88 | 14148.16 | 9.6267
|  |  |  | 13 | Concrete Encased Electrical Duct, 2-Way, 2"C, 24" Minimum Cover | LF | 89 | 50 | 4450 | 64 | 5696 | 57.25 | 5095.25 | 57.0833
|  |  |  | 14 | Concrete Encased Electrical Junction Structure, L-867D Class 1, Size 16" Diameter by 24" Depth, Installed | EA | 2 | 12 | 24 | 1370 | 2740 | 1375 | 2750 | 919
|  |  |  | 15 | Unclassified Excavation | CY | 29503 | 17.6 | 519252.8 | 13 | 383539 | 16.9 | 498600.7 | 15.8333
|  |  |  | 16 | Rock Excavation | CY | 200 | 170 | 34000 | 80 | 16000 | 145 | 29000 | 131.6667
|  |  |  | 17 | Unsuitable Excavation | CY | 3000 | 20 | 60000 | 13 | 39000 | 47.5 | 142500 | 26.8333
|  |  |  | 18 | Temporary Erosion Control | LS | 1 | 14000 | 14000 | 33000 | 33000 | 45000 | 45000 | 30666.6667
|  |  |  | 19 | Soil-Cement Base Course | SY | 7837 | 9 | 70533 | 6 | 47022 | 6.33 | 49608.21 | 7.11
|  |  |  | 20 | Portland Cement | TON | 289 | 190 | 54910 | 213 | 61557 | 235.53 | 68068.17 | 212.8433
|  |  |  | 21 | Portland Cement Concrete Pavement (8" Thickness) | SY | 7779 | 76.4 | 594315.6 | 89 | 692331 | 78.05 | 607150.95 | 81.15
|  |  |  | 22 | 18" Class V Reinforced Concrete Pipe | LF | 112 | 300 | 33600 | 110 | 12320 | 185 | 20720 | 198.3333
|  |  |  | 23 | TDOT Straight Headwall for 18" Culvert (4:1 Slope) | EA | 2 | 2096 | 4192 | 4000 | 8000 | 3010 | 6020 | 3035.3333
|  |  |  | 24 | Pavement Marking - 6" Yellow with Reflective Media | SF | 198 | 8.9 | 1762.2 | 12 | 2376 | 12 | 2376 | 10.9667
|  |  |  | 25 | Seeding | ACRE | 12 | 1630 | 19560 | 3000 | 36000 | 2000 | 24000 | 2210
|  |  |  | 26 | Sodding | SY | 647 | 11.3 | 7311.1 | 10 | 6470 | 13.35 | 8637.45 | 11.55
[7 empty] | Total: |  | 1832828.4 |  | 1872174 |  | 2109651.47
BACK TO INDEX